# CUBE User Guide

### Comprehensive Unsupervised Behavioral Explorer — v5

## Contents

What is CUBE?

Installation and Setup

Launching CUBE

The Five-Step Pipeline

Step 1 — DLC Inference

Step 2 — Load & Smooth

Step 3 — Feature Extraction, UMAP, and Clustering

Step 4 — Cluster Annotation (Video Explorer)

Step 5 — Behavioural Analysis (Analyser)

Understanding the Output Files

The Behavioural Analyser (cube_analyser)

Loading Data

Combined Analysis Tab

Behaviour Statistics Tab

Unbiased Analytics Tab

Recombination Guide

Group Predictor Tab

Paradigm Results Tab

HMM Smoothing

Advanced Settings

Session Autosave and Resume

Compatibility Mode

Troubleshooting

3D Multi-Camera Mode (v5)

Overview

Prerequisites

Enabling 3D Mode

The Four Phases

3D Settings Reference

Output Files

How Downstream Steps Differ in 3D Mode

Camera Calibration

Troubleshooting (3D)

## 1. What is CUBE?

CUBE integrates DeepLabCut (DLC) pose estimation with an unsupervised machine learning pipeline to automatically discover and quantify animal behavioural patterns from video — no manual labelling required.

The core methodology is based on B-SOiD (Hsu & Yttri 2021, Nat. Commun. 12:5188), extended with:

Multi-scale feature extraction (100/200 ms windows)

Body-size normalisation and angular body-axis features

HDBSCAN cluster sweep with DBCV-guided automatic selection

Multinomial HMM wrapper for temporal smoothing (eliminates state flickering)

Interactive video annotation and group-level statistical analysis

Multivariate group classification (Group Predictor) with permutation testing

What CUBE does not require:

Manual behavioural labelling

Predefined behavioural categories

Frame-by-frame annotation

What you need to provide:

Video recordings of your animals

(Optionally) a DLC SuperAnimal quadruped model — CUBE can run inference automatically

## 2. Installation and Setup

### Requirements

Windows 10/11

Anaconda or Miniconda

CUDA-capable GPU (recommended for DLC inference, not required for analysis)

### Conda Environment

Create the CUBE environment once:

conda create -n CUBE python=3.10
conda activate CUBE
pip install pillow opencv-python-headless scipy scikit-learn umap-learn customtkinter plotly hmmlearn deeplabcut psutil
conda install -c conda-forge hdbscan

Important: DeepLabCut must be installed inside the CUBE environment — not in a separate environment. Step 1 (DLC inference) will fail if DeepLabCut is absent or installed elsewhere. Steps 2–5 do not require it.

### Verify the Environment

"C:\Users\<yourname>\anaconda3\envs\CUBE\python.exe" -c "import umap; print('OK')"

### Desktop Shortcut (Windows)

Run install_shortcut.ps1 once (right-click → Run with PowerShell). This creates a CUBE shortcut on your desktop that launches via CUBE.bat without needing to open a terminal.

## 3. Launching CUBE

Always launch using the full Python path or the CUBE.bat launcher:

"C:\Users\<yourname>\anaconda3\envs\CUBE\python.exe" cube.py

Or double-click the desktop shortcut created by install_shortcut.ps1.

You can also launch the standalone tools directly:

rem Behaviour Analyser (Step 5 only)
"C:\Users\<yourname>\anaconda3\envs\CUBE\python.exe" cube_analyser.py

rem Video Explorer / Cluster Annotator (Step 4 only)
"C:\Users\<yourname>\anaconda3\envs\CUBE\python.exe" cube_video_explorer.py

## 4. The Five-Step Pipeline

The main CUBE window presents five sequential steps. Each step must complete before the next can start. The pipeline saves progress automatically so you can close CUBE and resume later.

### Step 1 — DLC Inference

Purpose: Run DeepLabCut pose estimation on your videos to produce bodypart coordinate files (H5 or CSV).

3D mode: If you recorded with four synchronised cameras using bonsai_video_corrector.py, you can run the full 3D per-camera adaptation + aniposelib triangulation pipeline instead of standard 2D inference. See Section 12 for a complete walkthrough.

If you already have DLC output files (H5/CSV), skip to Step 2.

Inputs:

Video folder(s) containing .mp4 / .avi / .mov files

Output folder for results

Options:

SuperAnimal Quadruped — uses DLC's pretrained SuperAnimal model (no training required; works for mice, rats, and other quadrupeds)

Smart Adapt mode — adapts the model once on a representative video, then reuses the adapted weights for all remaining videos. Recommended for large batches where animals all look similar.

What CUBE produces: one *_filtered.h5 file per video, placed in the output folder alongside the source videos. This filter step is jitter-removal only — it denoises keypoints DLC is already confident about; it does not fill in missing/low-confidence frames. Only frames at or above the pose confidence (pcutoff) threshold (default 0.6, same setting used for DLC inference itself) are smoothed, and only within runs of at least 7 consecutive confident frames — a short island of confident detections wedged between two long occlusions doesn't have enough same-quality neighbours for the filter to trust, so it's left untouched too. Frames below pcutoff, including DLC's "no detection" frames, keep their original raw value unmodified. Gap-filling those frames is Step 2's job (below), which sees the same unmodified confidence values and interpolates them from clean neighbours using its own gap-length cap.

File matching: CUBE matches DLC H5/CSV files to videos by stem name, filename prefix, or YYYYMMDD_HHMMSS timestamp. If a file cannot be matched to a video, it is included in the analysis without video-linked features.

### Step 2 — Load & Smooth

Purpose: Load DLC output files, normalise low-likelihood frames, and apply temporal smoothing.

What happens internally:

Each H5/CSV file is normalised to a standard 3-level (scorer, bodyparts, coords) MultiIndex — any DLC format variant is handled automatically.

Frames where any tracked bodypart has likelihood below the threshold are interpolated from neighbours.

A centred boxcar moving average is applied across each coordinate series (default window = 3 frames). This reduces single-frame jitter without shifting timing.

Key setting: likelihood_threshold (default 0.30). Frames below this are interpolated. Raise it if bodypart tracking is noisy; lower it if too many frames are being interpolated. Occlusions longer than max_interp_gap_sec (default 0.5 s) are held flat at the nearest good value instead of ramped in a straight line, so a long dropout doesn't get filled with implausible smooth motion.

### Step 3 — Feature Extraction, UMAP, and Clustering

This is the core analysis step. It takes ~5–30 minutes depending on data size.

Feature Extraction

Multi-scale (100 ms and 200 ms windows) features are computed for each time bin:

Pairwise distances between all tracked bodyparts

Velocities (displacement per bin) for each bodypart

Angular features (body axis orientation from spine landmarks, if detected)

Within-bin variance (captures postural stability vs. movement)

Body-size normalisation (distances are normalised by animal size, making the model invariant to camera distance)

Adaptive visibility/occlusion features (on by default) — mean tracking likelihood, fraction of

low-confidence bodyparts, and per-body-region low-confidence fractions per bin. See "Visibility & Confidence Features" below.

Output shape: (n_features, n_bins) where one bin = 100 ms.

Body-Region Weights (optional)

Click Body-Region Weights (optional)... in Step 3's Advanced Settings to open a panel that lets you up- or down-weight entire body regions before clustering, instead of treating every tracked bodypart equally.

The panel first peeks the bodypart names from the first DLC file in your session (without a full load), then

groups them into six regions using keyword matching: Head/Mouth, Forelimbs, Hindlimbs, Trunk/Back, Neck, Tail (anything unmatched falls into an "Other" catch-all).

Each region gets a single slider from 0.1 to 3.0 (default 1.0 = no change). There's no separate on/off

checkbox — leaving a region's slider at 1.0 keeps it at the default weight, and moving it is itself the signal to apply that weight. Leaving every slider at 1.0 (the default) applies no weighting, so out of the box the pipeline runs identically to a build without this feature.

Weighting affects pairwise-distance columns (as √(wᵢ·wⱼ), so a distance is only up-weighted when both

bodyparts involved are weighted up) and per-bodypart velocity/acceleration/within-bin-variance columns (multiplied by wᵢ directly). Angular body-axis features are left unweighted.

Typical use: if a subtle mouth/head behaviour (e.g. licking vs. grooming) is being conflated with other

behaviours in the same cluster, try raising the Head/Mouth weight to 2–2.5 and re-running Step 3.

The last weights you click Apply on are remembered across projects, in a small body_region_weights.json

file next to cube.py (same persistence pattern as the app's dark/light theme choice). A brand-new project's sliders pre-fill from this file instead of starting uniform every time; a project that already has its own explicit weights (e.g. reloaded from a saved session) always keeps those instead. Nothing is written to a project's own settings until you click Apply in the editor itself.

Automatic Confidence-Based Bodypart Weighting (on by default)

Separate from the manual panel above, CUBE automatically down-weights bodyparts whose DLC tracking is chronically unreliable, based purely on the data — no manual judgment required.

Every bodypart already has a hard-drop gate (feature_bad_bp_thresh/feature_bad_bp_thresh_with_visibility,

default 0.40/0.70 mean bad-frame fraction across sessions) that removes the most extreme cases entirely. This automatic weighting fills the gap below that: a bodypart that survives the drop but is still chronically bad (e.g. mean bad-frame fraction 0.3–0.6) would otherwise enter feature extraction at full weight, contributing long runs of flat-interpolated, near-identical values across many bins — exactly what inflates HDBSCAN noise and pushes DBCV toward degenerate (non-finite, forcing a silhouette fallback).

Controlled by auto_bp_weight_lo (default 0.10) and auto_bp_weight_hi (default 0.35): the statistic

is the fraction of sessions a bodypart is genuinely bad in, not a mean and not a percentile-of-magnitude statistic. A session counts as "affected" when that bodypart's bad-frame fraction in it exceeds auto_bp_weight_session_thresh (default 0.3). At or below lo (~2/21 sessions) the bodypart is untouched (weight 1.0); at or above hi (~7/21 sessions) it's weighted down to auto_bp_weight_floor (default 0.35); linear taper in between. This is a soft, continuous down-weight, not a second hard cutoff.

This statistic went through two iterations, both confirmed on real data. A mean dilutes a bodypart bad

42–67% in only 5 of 21 sessions down to 0.157 (missed entirely — it never appeared in the [AUTO-WEIGHT] log despite being named the worst-tracked bodypart in several individual sessions). Switching to the max (100th percentile) fixed that case but over-corrected: with ~20 sessions, almost every bodypart has at least one session with a bad-frame spike — often driven by the animal turning away from camera, which naturally degrades jaw/forepaw tracking in whichever session has the most turned-away time — so max-based flagged 16 of 22 bodyparts in one real run (mostly jaws/paws) and measurably increased HDBSCAN noise (50.7% → 61.9%) and seed-to-seed instability (mean ARI 0.711 → 0.524). Counting sessions affected solves both: a single-session fluke (including a turned-away-driven spike) stays under lo untouched, while a bodypart bad in a recurring subset of sessions still crosses it regardless of how many other sessions are clean.

The turned-away confound is also fixed at its source — see "Turned-Away Bad-Frame Exclusion" below — so a

session's bad-frame fraction for face/forepaw bodyparts no longer counts frames already excluded from training anyway.

A manually-set weight for a bodypart (from the panel above) always wins — auto-weighting only fills in

bodyparts you have not already customised, so setting your own weights for e.g. Neck/Trunk-Back/Tail is never overridden by this.

Logged once per run as a single [AUTO-WEIGHT] line (bodypart → computed weight), not per-session.

Controlled by auto_bodypart_weighting (default True, engine-cfg). Set to False to disable and rely on

manual weighting only. compat_mode = "legacy_v2" also disables it, for exact reproduction of runs from before this feature existed.

Turned-Away Bad-Frame Exclusion (on by default)

turned_away_exclude_from_bad_frac (default True, engine-cfg): before either the FEAT-DROP hard-drop

gate or the automatic weighting above sees a bodypart's per-session bad-frame fraction, frames already flagged turned-away-from-camera (see "Turned-Away-From-Camera Detection" below) are excluded from that fraction's computation. Raw per-frame DLC likelihood naturally drops for face/forepaw bodyparts during turned-away moments — they're genuinely out of camera view — but those exact frames are already excluded from UMAP/HDBSCAN training separately, so counting them as "bad tracking" here double-penalises the bodypart for something that isn't chronic mistracking.

False reverts to the raw (uncorrected) fraction. compat_mode = "legacy_v2" also disables it, since this

changes what the pre-existing FEAT-DROP gate drops (not a new-this-session behaviour) and must stay opt-out for exact reproduction of older runs.

Visibility & Confidence Features

CUBE automatically adds a feature block, on by default, that helps separate real behaviours from tracking artefacts — most commonly the animal turning away from the camera, which degrades face/forepaw tracking confidence without necessarily changing the pairwise-distance geometry much.

For each 100 ms bin, CUBE computes an adaptive per-bodypart/per-session confidence threshold (the

visibility_adaptive_pct percentile of that bodypart's own likelihood distribution in that session, default 10th percentile, never lower than the existing likelihood_threshold floor), then records the mean tracking likelihood, the fraction of bodyparts below their adaptive threshold, and the same fraction broken out per body region (reusing the Head/Mouth/Forelimbs/etc. grouping above).

This lets HDBSCAN place structurally similar "occluded" bins into their own cluster instead of scattering

them through real behaviour clusters as noise, or corrupting a real cluster's kinematics.

Controlled by visibility_features_enabled (default True) and visibility_adaptive_pct (default 10) in

Advanced Settings → Feature Extraction. Set visibility_features_enabled = False only if you need to reproduce output from before this feature existed.

After clustering, CUBE writes cluster_confidence.csv (mean visibility, per-region low-confidence fractions,

and a low_confidence_flag boolean per cluster) alongside cluster_kinematics.csv, so you can check whether a given cluster is a real behaviour or a tracking-confidence artefact before spending time annotating it in Step 4.

Turned-Away Detection (on by default)

This is the shipped, more decisive version of the visibility-features mitigation above. Instead of only hoping HDBSCAN separates turned-away bins on its own, CUBE now actively detects them and removes them from training, replacing them with an explicit "Turned Away" label rather than letting the MLP guess a real behaviour for them.

A 100 ms bin is flagged turned-away when both (a) the Head/Mouth region's low-confidence fraction is at or

above the Turned-away confidence threshold (default 0.30, GUI-editable) and (b) the nose keypoint's own confidence is below its adaptive per-session threshold. Both conditions are required: relying on the Head/Mouth region alone was validated to produce false positives on one-sided head turns and motion blur; the nose is the single most reliable indicator of whether the animal is actually facing the camera. Brief flagged windows (< 0.4 s) are dropped as jitter; windows separated by ≤ 0.5 s are merged into one.

Requires a nose bodypart in your DLC project; if none is present, detection is skipped for that run (a

warning is logged) and no bins are flagged.

With Exclude turned-away frames from clustering checked (default), flagged bins are excluded from

UMAP/HDBSCAN training (the same "too few good bins" safety fallback that protects the existing flat-held- bodypart exclusion also covers this) and are written as a distinct "Turned Away" cluster id (one number above your highest real cluster id) in the bout, frame-label, and epoch CSVs, and in cluster_kinematics.csv. Unchecking it is a true no-op: detection still runs (so the video overlay and log line still work), but nothing is excluded from training and no CSV gets relabelled — output is identical to a run from before this feature existed.

The two GUI controls live in Step 3 Advanced Settings → FEATURE EXTRACTION, directly below the visibility

feature rows: Exclude turned-away frames from clustering (checkbox) and Turned-away confidence threshold (spinner, 0.0–1.0). Raising the threshold (e.g. to 0.45) makes detection more conservative.

Every labeled video CUBE writes (videos/labeled_videos/) now also burns in an amber "TURNED AWAY" banner

across the bottom of the frame whenever that frame is flagged — this runs whenever Save labeled video is on, regardless of the exclude checkbox above, so you can visually spot-check detection without a separate tool. It never overlaps the existing black C{id} cluster-label box in the top-left corner.

What to expect when reading Step 5 statistics: a real behaviour bout that gets interrupted mid-way by a

turned-away window is split into two shorter bouts in the exported CSVs (this can inflate that behaviour's bout count and deflate its mean duration — a known, documented limitation, not a bug). "% time in cluster X" style metrics are computed over the whole session including Turned Away time, so every cluster's percentage is diluted by whatever fraction of the session got flagged (typically 8–15% in validation recordings) — keep this in mind when comparing against runs from before this feature existed, or across animals/groups that may differ in how often they turn away from the camera (a systematic difference here could otherwise look like a behavioural effect). The empirical transition_matrix.png/hmm_transition_matrix.png plots do not show "Turned Away" as a state — they reflect the raw MLP/HMM sequence, since the reserved id is only applied to the CSV/kinematics exports downstream of HMM training.

UMAP

Reduces the high-dimensional feature space to 3 dimensions for visualisation and clustering. Key parameters:

n_neighbors — adapts automatically to data size (controls local vs. global structure)

min_dist — default 0.1; controls point packing in the embedding

PCA pre-reduction is applied automatically when n_features ≥ n_samples / 5

HDBSCAN Cluster Sweep

Rather than requiring you to choose a cluster count, CUBE sweeps min_cluster_size across 40 steps and tries both eom and leaf methods. The partition is selected by DBCV (Density-Based Clustering Validation, relative_validity_), which measures cluster quality without requiring a predefined number of clusters.

Rare clusters (< 0.2% of all bins) are pruned before MLP training.

Iterative Split/Merge Refinement (on by default)

The full decision chain that determines the final cluster count is:

Sweep min_cluster_size × {eom, leaf}.

Score every candidate by DBCV + size-diversity bonus (plus hdbscan_leaf_bonus for leaf candidates, but

only once the merge pass below is enabled).

Pick the best-scoring candidate.

Split pass (if hdbscan_split_silhouette_thresh is set): any cluster whose mean per-bin silhouette

falls below the threshold is a candidate for local re-embedding + re-clustering. A split is only accepted if the local re-cluster finds a genuinely stable sub-partition — a low silhouette caused by noise, not real heterogeneity, is left untouched.

Merge pass (if hdbscan_merge_thresh > 0): sibling clusters that separated at low persistence in the

HDBSCAN condensed tree (the signature of one behaviour over-split into near-duplicates, e.g. "licking-fast"/"licking-slow") are merged, after confirming they are also close in embedding space.

Rare-cluster pruning (as above).

Steps 4–6 repeat up to recluster_max_iterations times, stopping early if an iteration makes no changes.

Both the split and merge passes are on by default (hdbscan_split_silhouette_thresh = 0.2, hdbscan_merge_thresh = 0.08). These defaults were chosen after a real run (cube_results_20260618_015149) showed the un-refined sweep over-fragmenting single behaviours — e.g. "licking" split across 3 clusters, "sniffing" across 7 — with seed-sensitive partitions (mean ARI ~0.59 across seeds, aggregate silhouette ~0.49). 0.2/0.08 are conservative: they catch clusters that are clearly impure or barely separated, without aggressively merging genuinely distinct behaviours. Settings, in Advanced Settings → "Iterative Split/Merge Refinement":

| Parameter | Default | Valid range | Increasing it | Decreasing it | Implications |
| --- | --- | --- | --- | --- | --- |
| hdbscan_split_silhouette_thresh | 0.2 | None (off) or -1.0–1.0; useful range ≈ 0.0–0.4 | More clusters qualify as "impure" → more candidates for local re-clustering, more splits accepted | Fewer clusters qualify → only the most severely mixed clusters get split; None disables the split pass entirely | A split is only accepted if the local re-cluster finds a genuinely stable sub-partition, so raising this is safer than it sounds — but push it too high (e.g. > 0.4) and you'll re-fragment naturally diffuse-but-real behaviours. Too low (near 0/None) leaves genuinely mixed clusters (two behaviours sharing one id) unresolved. |
| hdbscan_merge_thresh | 0.08 | 0.0 (off) – 1.0; useful range ≈ 0.0–0.2 | More sibling clusters qualify as "barely separated" → more aggressive consolidation, lower final cluster count | Fewer clusters qualify → less consolidation, more near-duplicate fragments survive; 0.0 disables the merge pass entirely | This is the main lever for undoing over-fragmentation (e.g. "licking" split across 3 clusters). Centroid-distance confirmation guards against merging tree-adjacent-but-genuinely-distinct behaviours, but values above ~0.3 start eroding that safety margin — real behaviours that happen to sit close in the condensed tree can get merged. |
| hdbscan_leaf_bonus | 0.03 | 0.0–0.5 (score-scale bonus; only applied when hdbscan_merge_thresh > 0) | Biases the eom/leaf method tie-break more toward leaf (finer, more locally-homogeneous, more fragmented base partition) | Reverts toward an unbiased eom/leaf comparison; 0.0 = no bonus | Only meaningful once merging is on, since leaf's extra fragmentation is what the merge pass is relied on to clean up. Set too high (e.g. > 0.15), it can force leaf selection even in sessions where eom was genuinely the better partition. |
| hdbscan_fine_bias | 0.05 | 0.0–0.5 (score-scale bonus; only applied when hdbscan_merge_thresh > 0 and DBCV is not degenerate this run) | Pushes the initial (pre-refinement) candidate selection toward the finer end of [preferred_clusters_lo, preferred_clusters_hi], generating more clusters up front for merge to consolidate | Selection reverts toward pure DBCV + diversity-bonus ranking (tends to settle on coarser, fewer-cluster solutions); 0.0 = no bias | Directly targets "not enough clusters to separate distinct behaviours." Pair it with a non-zero hdbscan_merge_thresh — raising fine_bias without merge enabled would just leave the extra fragmentation unresolved. Pushed too high (e.g. > 0.2), it can dominate real DBCV quality differences and force selection toward preferred_clusters_hi regardless of fit. Auto-disabled when the run falls back to silhouette scoring (degenerate DBCV) — biasing an already-unreliable ranking doesn't help; on real data it made seed-sweep stability worse (mean ARI 0.55 vs 0.71) rather than better. |
| recluster_max_iterations | 2 | 0–10 (int) | More split→merge cycles — lets splitting reveal new impurity that a later merge pass cleans up, and vice versa | Fewer cycles — risk of not converging to a stable partition; 0 disables the whole loop regardless of the thresholds above | The loop already stops early once an iteration makes no changes, so this mostly bounds worst-case runtime rather than forcing extra work. 2 (one split pass, one merge pass) covers the common case; raising to 3–4 is low-risk if you see the log still finding changes at iteration 2. |
| hdbscan_split_max_subclusters | 3 | 2+ (int) | Allows a single impure cluster to accept more local sub-clusters in one split | Caps a split more tightly | Deliberately low: a split should resolve a handful of genuinely distinct sub-behaviours, not fragment extensively. The local re-cluster used for a split does NOT inherit preferred_clusters_lo/hi/hdbscan_fine_bias from the whole-session config — this value is its local preferred_clusters_hi instead. Without this cap, a single cluster could split into 20–30+ tiny fragments in one pass (observed in practice once fine_bias was pushing local selection toward a whole-session-scale count). |
| hdbscan_split_min_points | 250 | 20+ (int) | Allows smaller candidate clusters to attempt a split | Requires a larger candidate before a split is attempted at all | Below this, a local re-embedding is skipped rather than attempted unreliably — sized at 5x UMAP's own PCA floor (50 components), since a sample/feature ratio under ~5 is the curse-of-dimensionality regime run_umap's auto-PCA trigger exists to avoid. With feature counts routinely exceeding 500–900 dims, the old flat 20-point floor let splits run on 90–300 point subsets in practice. |

Related parameters that interact with the above (not part of the refinement pass itself, but shape what it operates on):

preferred_clusters_lo / preferred_clusters_hi (defaults 8 / 30) — the range hdbscan_fine_bias nudges selection within. Narrowing this range limits how much fine_bias can do; widening it gives fine_bias more room to push toward a finer starting partition.

hdbscan_dbcv_thresh (default 0.65) — quality floor (as a fraction of the best candidate's score) used when no candidate falls in the preferred range. Unrelated to fine_bias's in-range nudge, but sets the quality bar refinement's input candidate must have cleared.

min_cluster_freq (default 0.5, i.e. 0.5%) — rare-cluster pruning that runs after refinement. A split pass can produce a small sub-cluster that then gets pruned right back out if it falls below this frequency floor; lower this if you want small split-off behaviours to survive.

To reproduce pre-refinement runs exactly, set compat_mode = "legacy_v2" (or set both hdbscan_split_silhouette_thresh = None and hdbscan_merge_thresh = 0.0).

Every split/merge decision is written to the run log, so you can always trace why the pipeline landed on N clusters instead of treating cluster count as a black box. Cross-check decisions against the cluster_validity.png plot (below) — clusters with low silhouette bars are the split pass's candidates; clusters that end up merged should look visually similar in their example clips. split_merge_refinement.png (below) shows the before/after effect of the refinement pass directly.

MLP Classifier

A scikit-learn MLPClassifier is trained on the HDBSCAN-labelled bins. The MLP learns to map feature vectors to cluster labels, then applies this to every session — including sessions not used for clustering. Cross-validated accuracy is reported in the log.

HMM Smoothing

A Multinomial Hidden Markov Model (HMM) is fitted to the MLP output using Baum-Welch EM. Viterbi decoding then re-labels every frame, enforcing temporal consistency. This eliminates rapid flickering between states that the MLP produces for ambiguous frames. See Section 7 for details.

Output plots generated:

umap_embedding.png — 2D UMAP scatter coloured by cluster

umap_3d.html — interactive 3D Plotly visualisation

transition_matrix.png — empirical transition matrix (MLP labels)

hmm_transition_matrix.png — HMM learned transition matrix (two panels: raw A matrix and off-diagonal renormalised)

cluster_stability.png — seed sweep stability (if seed_sweep_n > 0)

cluster_validity.png — silhouette diagram + HDBSCAN condensed-tree plot for the primary clustering, always generated when plots are saved. Use it to sanity-check split/merge settings above and to spot clusters worth a closer look before Step 4 annotation. If the right-hand panel ever reads "Condensed-tree plot unavailable," this is an upstream hdbscan library rendering bug (confirmed: an Ellipse transform error triggered by a cluster with near-infinite persistence), not a CUBE bug — CUBE already retries once without cluster-boundary highlighting before giving up, so this placeholder should now be rare; the silhouette diagram on the left is unaffected either way.

split_merge_refinement.png — before/after diagnostic for the iterative split/merge refinement pass: UMAP scatter coloured by cluster id before vs. after refinement, plus a before-cluster x after-cluster contingency heatmap (rows collapsing into one column = a merge; one row spread across several columns = a split). Only generated when refinement actually changed the labels.

Also written to the output folder root: cluster_confidence.csv (per-cluster visibility/confidence flags, see "Visibility & Confidence Features" above).

### Step 4 — Cluster Annotation (Video Explorer)

Purpose: Assign human-interpretable names to each HDBSCAN cluster by watching example video clips.

Launch: Click Open Video Explorer in Step 4, or run cube_video_explorer.py standalone.

Workflow:

The explorer loads example video clips for each cluster automatically (clips were saved during Step 3).

For each cluster, play 3–5 example clips and assign a name (e.g., "Rearing", "Grooming", "Locomotion").

Clusters can be grouped — e.g., assign multiple clusters to the same named behaviour category.

Annotations are saved and appear in the Analyser.

Tips:

Watch at least 5–10 clips per cluster before assigning a name — behaviour within a cluster can be heterogeneous.

If two clusters look identical, they may represent the same behaviour at different speeds or body angles. Assign them the same group name.

Unlabelled clusters are displayed as "Cluster N" in the Analyser.

With Exclude turned-away frames from clustering on (default), the reserved "Turned Away" id gets its own

example clips like any other cluster (since epochs of Turned Away time are generated the same way) — it will appear here as an unnamed "Cluster N" (N = your highest real cluster id + 1). Watching a clip or two confirms it is genuinely camera-turn-away footage, not a real behaviour; naming it "Turned Away" here keeps it labelled consistently through to the Analyser.

### Step 5 — Behavioural Analysis (Analyser)

Launch: Click Open Analyser in Step 5, or run cube_analyser.py standalone.

The analyser loads the output files from the pipeline and provides four tabs of analyses. See Section 6 for a full description.

Interpreting the "Turned Away" cluster: when exclude_turned_away was on for the run you're analysing, one extra cluster id (one above your highest real HDBSCAN id) represents time the animal was judged turned away from the camera, not a behaviour. It behaves like any other cluster in the CSVs (bout/epoch counts, durations, kinematics) and in bar/heatmap/dwell-time plots, but is a tracking artefact, not a fourth-quadrant behaviour — exclude it from behavioural interpretation the same way you would a "Cluster N" you haven't annotated yet. Two things worth knowing when reading statistics for the sessions around it: (1) a real behaviour bout interrupted mid-way by a turned-away window shows up as two separate (shorter) bouts rather than one continuous bout, which can inflate that behaviour's bout count and deflate its mean duration; (2) "% time in cluster X" metrics are computed over total session time including Turned Away time, so every real cluster's percentage is diluted by whatever fraction of the session got flagged (usually single digits to ~15%) — if you're comparing against runs from before this feature existed, or across animals/groups that may turn away at different rates, keep this denominator shift in mind. The empirical/HMM transition-matrix plots do not include "Turned Away" as a state (they reflect the raw label sequence from before the dedicated-label override is applied).

## 5. Understanding the Output Files

After Step 3, all output is written to your chosen output folder:

<output_dir>/
  bout_lengths/
    <stem>_bout_lengths.csv          ← MLP bout table (preferred: _hmm version)
    <stem>_bout_lengths_hmm.csv      ← HMM-smoothed bouts (used by analyser by default)
    <stem>_bout_lengths_hmm_enriched.csv  ← (if kinematic_directedness_enabled and/or
                                             env_features_enabled, both off by default) SHARED
                                             sidecar: canonical 3 columns + net_displacement_px,
                                             path_length_px, straightness_ratio,
                                             mean_speed_px_s, heading_consistency (kinematics)
                                             and/or pct_time_in_region_<name>,
                                             pct_time_near_object_<name>,
                                             mean_heading_angle_to_object_<name> (env context)
    <stem>_approach_events.csv       ← (if BOTH kinematic_directedness_enabled and
                                         env_features_enabled with traced shapes)
    <stem>_frame_labels.csv          ← per-frame: frame, time_s, label
    <stem>_frame_labels_hmm.csv      ← HMM-smoothed per-frame labels
    <stem>_epochs.csv                ← epoch-level summary
    <stem>_epochs_hmm.csv
  model/
    bsoid_model.pkl                  ← scaler, UMAP, HDBSCAN, MLP, PCA, config
    umap_embedding.npy               ← (n_total_bins, n_components)
    session_bin_ranges.json          ← {stem: [start, end, video_path]}
    session_env_context.json         ← (if env_features_enabled, off by default) per-session
                                         region/object time series, summaries, and paradigm-
                                         gated derived metrics
    hmm_model.pkl                    ← HMM parameters
  plots/
    umap_embedding.png
    umap_3d.html
    transition_matrix.png
    hmm_transition_matrix.png
    hmm_syntax_network.png
    state_space_projection.png
    cluster_stability.png            ← (if seed sweep enabled)
    cluster_validity.png             ← silhouette diagram + HDBSCAN condensed-tree plot
  cluster_kinematics.csv
  cluster_confidence.csv             ← per-cluster visibility/confidence flags (low_confidence_flag)
  videos/
    example_clips/<cluster_id>/      ← short clips per cluster for annotation
    labeled_videos/                  ← full videos with per-frame cluster label overlaid
    umap_evolution/                  ← (if UMAP evolution export was run)

### Key file: bout_lengths CSV

The bout CSV is the primary input to the Analyser. It contains:

| Column | Description |
| --- | --- |
| label | Cluster ID |
| start_frame / end_frame | Frame indices of the bout |
| start_s / end_s | Time in seconds |
| duration_s | Bout length in seconds |
| fps | Frames per second of the source video |

HMM file priority: The Analyser always loads *_hmm files when present, falling back to raw MLP files. To force the Analyser to use raw MLP labels, rename or delete the _hmm files.

## 6. The Behavioural Analyser (cube_analyser)

Launch with: "C:\...\python.exe" cube_analyser.py or via the Open Analyser button in CUBE Step 5.

### Loading Data

On startup, select the output folder from a previous pipeline run. The Analyser detects all *_bout_lengths_hmm.csv files in the bout_lengths/ subdirectory and loads one animal per file.

Important: the Analyser expects the bout_lengths/ folder structure created by the pipeline. If you are loading manually, place files in a folder matching this structure.

### Combined Analysis Tab

Overview of all loaded animals.

Shows a summary table with one row per animal: session duration, total clusters observed, total bouts.

Assign experimental groups: use the group editor to assign each animal to a named experimental condition (e.g., "Control", "Drug", "WT", "KO"). These assignments drive all downstream comparisons.

Behavioural fingerprint heatmap: shows cluster usage (proportion of time) across all animals as a heatmap, useful for spotting inter-animal variability.

Ethogram: horizontal timeline for each animal, with colour-coded bars showing when each cluster occurred.

### Behaviour Statistics Tab

Group-level comparisons across clusters.

For each cluster, CUBE reports:

Prevalence test (structural zeros): Tests whether the cluster occurs in both groups (presence/absence comparison). A cluster absent in one group represents a structural zero — a fundamentally different kind of effect than a magnitude difference.

Kruskal-Wallis test (present-only): Among animals that expressed the cluster, tests whether the amount (frequency or duration) differs between groups. This separates "does the behaviour exist in this group?" from "how much do they do it?".

Dunn's pairwise post-hoc (FDR-adjusted): For significant KW results with ≥3 groups, pairwise post-hoc comparisons with FDR correction indicate which specific groups differ.

Family-wide FDR table: Exported to advanced_analyses/ folder.

Plot types available:

Frequency (bouts/session) per cluster per group

Duration (total seconds) per cluster per group

Bout length distribution (violin/box)

Ethogram overlay for selected clusters

### Unbiased Analytics Tab

Experimental Design (Statistical Settings, above "Group by"):

Independent Groups (default) — different animals per group (e.g. Control vs MECH PAIN vs THERM PAIN). Omnibus is Kruskal-Wallis; post-hoc is Dunn's test (or Mann-Whitney U if scikit-posthocs isn't installed). Both are FDR-pooled across every cluster/panel shown together, so a q < 0.05 star means the same thing on every panel instead of drifting from one cluster to the next.

Repeated Measures — the same animals measured repeatedly across the levels of "Group by" (e.g. Baseline / Day 3 / Day 7). Pairing uses each animal's Label 3 / Animal ID value (set in the Group Editor) — give matching animals the same Label 3 value at every timepoint. Only animals with a non-blank Label 3 value present at every level are included (at least 3 matched animals required); the status bar after Run Statistical Analysis reports how many were matched and how many were excluded for incomplete pairing. Omnibus is Wilcoxon signed-rank (2 levels) or Friedman's test (≥3 levels); post-hoc is pairwise Wilcoxon signed-rank, still FDR-pooled the same way. The structural-zero two-part decomposition (sig_driver column) and the hidden parametric ANOVA/η² columns are Independent-Groups-only — Repeated Measures rows report sig_driver = "n/a" rather than a misleading value.

A third "Mixed Design" (independent groups each followed across time) is not yet available.

Eleven plot modes for exploratory analysis:

| Mode | What it shows |
| --- | --- |
| Top-N Bar | Top N most-frequent clusters ranked by group mean |
| Volcano | Effect size vs. significance scatter for all clusters |
| Heatmap | Cluster × animal usage matrix (Ward-clustered) |
| Elbow/Silhouette | Within-cluster sum-of-squares and silhouette scores for Ward reclustering |
| Cluster Hierarchy | Live re-render of the primary clustering's pose-space dendrogram (see Recombination Guide) |
| Guided Merge | Hierarchy-informed automatic reclustering — self-stopping, pose-distance-vetoed (see Recombination Guide) |
| Recombination | Ward-reclustered cluster dendrogram with blended distance (70% change-pattern + 30% transition cosine), optionally pose-distance capped (see Recombination Guide) |
| Dist Matrix | Pairwise behavioural-distance matrix between animals |
| Transitions | Empirical cluster-to-cluster transition probability matrix |
| Cluster Stats | Per-cluster summary: mean bout length, frequency, total time |
| Cluster Validity | Silhouette diagram + 2D UMAP scatter for the primary HDBSCAN clustering (loaded from the run's saved umap_embedding.npy/labels) — unlike the other modes above, this operates on raw pose features/embedding rather than aggregated per-cluster behaviour stats. For the condensed-tree view (not available here, since the fitted HDBSCAN model isn't saved to disk), see the pipeline-exported plots/cluster_validity.png. If no embedding data is found for the loaded folder, a placeholder message is shown instead. |

Reclustering (build_recluster_result) groups the discovered HDBSCAN clusters into a smaller set using Ward linkage on a blended distance matrix: 70% change-pattern correlation + 30% cosine similarity of outgoing transition profiles.

## 6a. Recombination Guide

Reclustering exists to take you from N raw B-SOiD clusters (which HDBSCAN often over-splits — the same real behaviour showing up as 2-3 separate clusters because of small pose variations) down to a smaller set of clusters that correspond to actual, distinguishable behaviours. There are now three ways to do this in the Unbiased Analytics tab, and they answer different questions. This section explains all of them, their defaults, what changing each parameter does, and when to reach for which.

### The three methods, side by side

| Method | View | What decides a merge | Stops at | Best for |
| --- | --- | --- | --- | --- |
| Manual k-sweep | Recombination | You pick k directly | Exactly k groups, always | Exploring "what would forcing exactly 3 (or 5, or 8) groups look like" — quick visual comparisons across several k's side by side |
| Recombination + pose-distance cap | Recombination | Same as above, but a proposed group is rejected (split back to its raw clusters) if any pair inside it is too far apart in pose space | Still exactly k groups, minus any rejected pairs | Sanity-checking a chosen k — "is this k actually merging things that look alike, or just things that happened to change together?" |
| Guided Merge | Guided Merge | Algorithm decides — closest pair by response-pattern similarity, but only if also close enough in pose space, and only if that merge is clearly better than the next-best rejected option | Automatically, whenever no further merge is both close enough and clearly justified | Not having to guess k at all — a defensible, reproducible starting point for manual lumping, especially when write-up needs to state why clusters were merged |

All three read the same underlying data (compute_reclustering_suggestions's blended distance: 70% correlation of each cluster's mean-metric profile across your experimental groups + 30% cosine similarity of outgoing transition profiles). What differs is whether — and how — a second, independent signal (pose similarity) is allowed to veto a proposed merge.

### Why a "pose-distance cap" exists at all

The manual k-sweep and its blended distance only look at how a cluster's usage changes across your experimental groups, and how it transitions to/from other clusters. Two clusters can look highly correlated on both of those measures for reasons that have nothing to do with being the same behaviour — shared arousal state, a confound in session length, coincidence in a small dataset. Nothing in the blended distance itself can tell "these two clusters are really the same behaviour, oversplit by HDBSCAN" apart from "these two clusters happen to covary for an unrelated reason."

The pose-distance cap adds a second, independent check: Cluster Hierarchy — the same feature-space dendrogram already exported as cluster_hierarchy_*.png by the pipeline — measures how different two clusters' underlying movement/pose pattern actually is, using the exact features UMAP/HDBSCAN were trained on. A merge is only allowed to go through if the two clusters are close enough on both criteria: correlated behaviour pattern and similar pose. This is the same idea WGCNA (a widely used gene-expression clustering method) uses for merging co-expression modules — never trust a merge backed by only one line of evidence when a second, independent one is available.

Requirement: the pose-distance cap, Guided Merge, and the Cluster Hierarchy view all need model/cluster_feature_centroids.npz, which Step 3 (Clustering Engine) now saves automatically alongside cluster_hierarchy_*.png. Run folders produced before this feature existed don't have it — re-run Step 3 to generate it (Step 4/5 outputs don't need to be redone; only the clustering stage does). Until then, the cap control is greyed out with a status message explaining why, and Guided Merge / Cluster Hierarchy show the same explanation instead of a plot.

"Backfill pose data (approximate)" button — a faster alternative to a full Step 3 re-run for old run folders. It computes pseudo-centroids directly from the already-saved umap_embedding.npy + umap_labels.npy (mean embedding position per cluster) instead of true feature-space centroids, so it needs no raw DLC files and runs instantly — but it is explicitly a lower-fidelity approximation: UMAP inter-cluster distances are only locally meaningful, not a reliable global pose-distance measure the way true feature-space centroid distance is. Every plot/status message built from a backfilled file is marked APPROXIMATE so it's never mistaken for the real thing, and the button never overwrites an existing cluster_feature_centroids.npz (real Step 3 output always wins). Use it for a quick look when a re-run isn't practical (files moved/deleted, time-constrained exploration); re-run Step 3 instead when the result needs to be trusted for a write-up.

### Parameters reference

| Parameter | Where | Default | What it does | What changing it implies |
| --- | --- | --- | --- | --- |
| k to save / Compare k values | Recombination controls | 5 / 3,5,8 | How many merged groups the manual sweep produces | Lower k = more aggressive lumping, easier to read but risks merging genuinely distinct behaviours; higher k = closer to the raw clustering, safer but less summarised |
| Pose-distance cap (percentile) | Recombination controls | 100 (off) | Only clusters within this percentile of the closest pairwise pose-distances are allowed to merge. 100 = no cap (today's behaviour, unchanged); 25 = only the closest quarter of all pairwise pose-distances are eligible | Lower values = stricter, more merges get rejected and split back to singletons; very low values (e.g. <10) can reject almost everything if your clusters are all pose-distinct, which is itself a useful signal that k should probably be lower before trying to merge |
| Guided Merge cap % | Guided Merge controls | 50 (median) | Same idea as the Recombination cap, but this is the ceiling Guided Merge's greedy algorithm is allowed to consider at all — pairs above this percentile are never proposed as merge candidates, regardless of how correlated their behaviour pattern is | Lower = more conservative, fewer total merges accepted, closer to the raw clustering; higher (up to 100) = pose similarity stops constraining anything and Guided Merge starts behaving like an unconstrained greedy agglomeration, which defeats the point — values well above 50-60 aren't usually recommended unless you have prior reason to trust the behaviour-pattern signal over pose similarity for your dataset |
| Guided Merge min gap | Guided Merge controls | 0.15 (15%) | Before accepting the best remaining eligible merge, the algorithm checks that it's at least this much closer (as a fraction of its own distance) than the closest pair that pose-distance already ruled out. If the two are nearly tied, the merge isn't clearly justified and the algorithm stops rather than guessing | Lower (e.g. 0.05) = more permissive, Guided Merge accepts more borderline merges and produces fewer, larger groups; higher (e.g. 0.3+) = more conservative, stops earlier, tends to leave more clusters unmerged — if Guided Merge is merging everything down to 2-3 groups on a dataset you believe has many distinct behaviours, raising this is the first thing to try (lowering the cap % is the second) |
| Save source | Save Reclustered Groups controls | Manual (k-sweep) | Whether Save as Preset / Push to Group Editor exports the manual k-sweep's groups (using its own pose-distance cap, if set) or Guided Merge's current groups | Defaults to whichever view you're currently looking at, so switching to Guided Merge and immediately saving does what you'd expect without having to remember to flip a toggle |

### Reading the outputs

Recombination suptitle — when the cap is active, reports how many of the proposed merges at each

k were rejected, e.g. "2 of 5 proposed merges rejected". If this number is high relative to the total, your chosen k is probably lumping clusters that don't actually look alike — try a lower k, or trust the rejections and stick with more, smaller groups.

Guided Merge composition labels — each merged group (RG-1, RG-2, ...) is labelled with the raw

cluster IDs that compose it, so you can always see exactly which original HDBSCAN clusters got folded together, not just a count.

Guided Merge diagnostic table (shown automatically below the Guided Merge plot) — one row per

accepted merge: the cluster pair, their blended distance, pose distance and its percentile, the response-pattern correlation, and transition similarity. This is the "why was this merge proposed" evidence — if a row's pose-distance percentile is high (close to the cap) and its response correlation is only moderate, that's a weaker merge worth a second manual look before trusting it in a write-up.

Cophenetic correlation (bottom of the diagnostic table) — a single number between -1 and 1

summarising how faithfully the blended dendrogram represents the underlying pairwise distances at all. Below roughly 0.7-0.8, be skeptical of any cut of that tree, guided or manual — the linkage structure itself may not be a reliable summary of your data (common with very few clusters, or highly heterogeneous transition dynamics).

### Example use cases

"I just want a quick summary plot for a lab meeting, exact grouping doesn't matter much."

Use the manual k-sweep with the cap left at 100 (off) — pick a k that gives a readable number of groups (5-8 is usually legible) and move on.

"I'm about to write up which behaviours were merged and need to defend why."

Use Guided Merge with the default cap (50) and min gap (0.15), and cite the diagnostic table's pose-distance percentile and response correlation for each accepted merge — this is the most defensible, reproducible starting point for manual lumping decisions.

**"My reviewer/supervisor is skeptical that two clusters I merged manually are really the same

behaviour."** Switch to the Recombination view at your chosen k, lower the pose-distance cap to something strict (e.g. 20-30), and see whether that merge survives. If it gets rejected and split back apart, cross-check it against the Cluster Hierarchy view — if the two clusters sit on visibly distant branches, that's a real signal to reconsider the merge, not just an artifact of the cap threshold.

"Guided Merge isn't merging anything, or is merging everything into 2 groups." Too conservative

(nothing merges): raise the cap % first, then lower the min gap if that's not enough. Too aggressive (merges to 2 groups): lower the cap % first (this is the more common fix, since a permissive cap lets the algorithm treat almost every pair as pose-eligible, leaving the correlation-based blended distance as the only real constraint), then raise the min gap if still too aggressive.

"Guided Merge / Cluster Hierarchy / the pose-distance cap are all greyed out or show a placeholder."

This run folder predates cluster_feature_centroids.npz — re-run Step 3 (Clustering Engine) on the same DLC output to regenerate it; Steps 4-5 don't need to be repeated.

### Group Predictor Tab

Multivariate supervised classification to test whether the full behavioural profile discriminates experimental groups.

This tab runs three parallel models (Frequency, Total Duration, Transition Probability) with Leave-One-Out cross-validation and a permutation test.

For full documentation of this tab — algorithms, figures, controls, and interpretation — see GROUP_PREDICTOR_REFERENCE.md.

Quick start:

Assign experimental groups in the Combined Analysis tab first.

Click Run Models with default settings.

Check the permutation p-value (green = significant). Click View on the best model.

### Paradigm Results Tab (v6 part 3)

Behavioral-paradigm-specific reporting, built on top of the Environmental Context feature (v6 part 2).

For the complete per-paradigm reference — exact tracing/role requirements, what data must exist at which pipeline stage, use cases, and known limitations for every graph in this tab — see Behavioral_Paradigms_Reference.md. The summary below is a quick-start only.

This tab only has content when at least one loaded session was run with Environmental Context tracing enabled (env_features_enabled, see "Environments, Objects, Paradigms" on the main window) and has a real session_env_context.json on disk — sessions predating v6, or run with the flag off, show a clear "no environmental context data" message instead of a plot, for every sub-view. The tab itself is always present in the tab bar (like every other tab); its content is what's gated on data availability.

Quick start:

Load sessions in the Combined Analysis tab as usual (a mix of sessions with and without environmental context data is fine).

Switch to the Paradigm Results tab and click Refresh from Loaded Sessions.

The sub-view matching your traced paradigm auto-selects. Use the Paradigm Sub-view dropdown to browse others — a sub-view that doesn't match any loaded session's paradigm shows a placeholder rather than wrong data.

The seven sub-views:

| Sub-view | Applies to paradigm | What it shows |
| --- | --- | --- |
| Generic | All paradigms (default for custom/Open Field) | Whole-arena occupancy heatmap, region-time control bar; for Open Field specifically, also total distance traveled, center-zone entry frequency (looks for a traced region named containing "center"), a center-zone %-time-course across the trial, and a mean-speed distribution across animals |
| Y-Maze Alternation | y_maze | Per-arm occupancy heatmap, spontaneous alternation %, total arm entries (activity control), and an arm-entry sequence strip (one row per session, colored by occupied arm, hub in gray) |
| Elevated Plus Maze | elevated_plus_maze | Open- vs. closed-arm occupancy heatmap, % open-arm time/entries, latency to first open-arm entry, total arm entries (locomotor control), an open-arm %-time-course across the trial, and a head-dip/peering-out proxy bar (nose crossing the traced boundary edge — only shown when a boundary was traced; a geometric proxy, not a validated classifier) |
| Discrimination Index | novel_object | Investigation-density heatmap around each object, discrimination index (tested against chance = 0), total exploration time (validity control), a nose-to-novel-object distance time-course, an investigation bout-duration distribution, and a latency-to-first-contact bar |
| Sociability / Social Novelty | three_chamber | Per-chamber occupancy heatmap, Phase 1 sociability index and Phase 2 social-novelty index (each tested independently against 0), chamber entry frequency (activity control), a nose-to-stranger distance time-course, an investigation bout-duration distribution, and a latency-to-first-contact-with-stranger bar |
| Place Preference / CPP | place_preference | Pre/post occupancy heatmap, preference index (tested against 0), a cumulative chamber-crossing time-course, and — when Experimental Design is set to Repeated Measures with a genuine pre-test phase — both a paired pre/post statistical comparison and a paired pre→post dumbbell plot (one line per matched subject) |
| Approach/Avoid Events | All paradigms | Trajectory plot with each detected event drawn as a start→end arrow (green = approach, red = avoid), event rate, target distribution. This sub-view is a rule-based heuristic, not yet validated against expert human scoring — treat it as a starting point for review, not a confirmed classification |

Every sub-view also shows the cluster-by-region and group-by-region occupancy cross-tab (grouped bar charts of % time each HDBSCAN cluster or experimental group spends in each traced region), built once and shared across all seven. Every bar chart in the tab — including these cross-tabs — additionally overlays each individual animal's own value as an unfilled ring on top of its group's bar.

Statistics: between-group comparisons reuse the same Kruskal-Wallis/Dunn's machinery (and BH-FDR correction) as Unbiased Analytics. Discrimination Index and CPP additionally get a one-sample test against a fixed reference (chance level, or zero delta) — shown with a dagger (†/††/†††) marker, visually distinct from the star (//**) convention used for between-group brackets, so the two different questions ("does this differ between groups" vs. "does this differ from chance/zero") are never visually conflated.

Occupancy heatmaps show real 2D position density (viridis colormap). Region/object outlines drawn on top are an approximation — the convex hull of positions actually recorded in that region/near that object — not the exact traced boundary, since the traced shape's own vertices aren't saved to any output file. Labeled "(approx.)" in the plot.

Save All Results (Combined Analysis tab) includes every applicable Paradigm Results sub-view's figures and a paradigm_derived_metrics.csv summary, alongside the other tabs' output.

This tab requires Environmental Context tracing — see "Environmental Context & Object Interaction" below for how to trace an arena and pick a paradigm before running the pipeline.

## 7. HMM Smoothing

The MLP classifier produces per-frame labels independently for each frame. In practice, brief ambiguous moments cause rapid flickering between clusters — a single frame of "grooming" in the middle of a "locomotion" bout. The HMM wrapper corrects this by modelling the temporal structure of behaviour.

### How It Works

A Categorical Hidden Markov Model (from hmmlearn) is fitted to the MLP output:

Baum-Welch EM estimates the transition matrix A (probability of switching from cluster i to cluster j) and emission probabilities B.

Viterbi decoding then finds the single most probable cluster sequence given the observed MLP predictions — enforcing temporal coherence.

The near-diagonal initialisation of the transition matrix (strong self-persistence prior) is calibrated to produce biologically plausible bout lengths.

### Two Sets of Outputs

Every output file is produced in both raw (MLP) and HMM-smoothed versions:

*_frame_labels.csv and *_frame_labels_hmm.csv

*_bout_lengths.csv and *_bout_lengths_hmm.csv

The Analyser uses HMM files by default. To use raw MLP labels, delete or rename the _hmm files.

### Transition Matrix Distinction

`transition_matrix.png` — empirical, counts every consecutive frame-pair in the raw MLP output. Diagonal masked.

`hmm_transition_matrix.png` — model-learned; shows the A matrix from Baum-Welch EM. Two panels: the raw A matrix and an off-diagonal renormalised panel that exposes the switching grammar independent of self-persistence.

## 8. Advanced Settings

Open Advanced CUBE Settings from the top toolbar. Settings are organised into sections:

### Feature Extraction

feature_scales_ms — default [100, 200]; add 50 for fine-grained locomotion distinction

angular_features — enable/disable angular body-axis features (auto-skipped if no spine landmarks detected)

likelihood_threshold — bodypart confidence threshold; frames below are interpolated (default 0.6)

bodypart_weights — per-bodypart weight multiplier dict; default {} (uniform/off). Set via the

Body-Region Weights (optional)... panel rather than by hand — see Step 3 above.

visibility_features_enabled — adds the adaptive visibility/occlusion feature block described in Step 3.

Default True.

visibility_adaptive_pct — percentile used for the per-bodypart/per-session adaptive confidence threshold.

Default 10.

exclude_turned_away — excludes detected turned-away-from-camera bins from UMAP/HDBSCAN training and gives

them a dedicated "Turned Away" label instead of a real cluster id. Default True; unchecking is a true no-op escape hatch. See "Turned-Away Detection" under Step 3 above.

turned_away_conf_thresh — Head/Mouth low-confidence-fraction cutoff for a turned-away candidate bin

(subject to the nose-corroboration AND-gate). Default 0.30, GUI-editable.

turned_away_min_window_s / turned_away_merge_gap_s — sustained-window debounce floor / merge gap

(seconds). Defaults 0.4 / 0.5. Not exposed in the GUI; editable via engine_cfg for advanced use.

### Iterative Split/Merge Refinement

hdbscan_split_silhouette_thresh (default 0.2), hdbscan_merge_thresh (default 0.08),

hdbscan_leaf_bonus (default 0.03), hdbscan_fine_bias (default 0.05), recluster_max_iterations (default 2), hdbscan_split_max_subclusters (default 3 — hard ceiling on how many sub-clusters one split pass may accept for a single impure cluster; deliberately low, since a split should resolve a handful of genuinely distinct sub-behaviours, not fragment extensively; the local re-cluster used for a split does NOT inherit the whole-session preferred_clusters_lo/hi/hdbscan_fine_bias, using this value as its own local preferred_clusters_hi instead), hdbscan_split_min_points (default 250 — minimum candidate-cluster size before a local split is even attempted; below this, too few points remain relative to the feature space to trust the result) — see the full parameter table (valid ranges, effect of raising/lowering each, and tuning implications) under "Iterative Split/Merge Refinement" in "HDBSCAN Cluster Sweep", Step 3 above.

### UMAP

n_components — default 3; UMAP embedding dimensions

n_neighbors — adapts automatically, but can be overridden

min_dist — default 0.1; lower values produce tighter clusters

umap_random_state — seed for reproducibility (default 42)

umap_init — "spectral" (default, umap-learn's own default) or "pca" (deterministic PCA

initialisation instead of the stochastic spectral eigenvector solve). Opt-in (T1.2, ARI-stability plan Aug 2026). On the 3-group validation dataset, "pca" raised mean seed-sweep ARI (0.41→0.60) but also collapsed most seeds to a much smaller cluster count — treat as unproven, not a recommended change yet.

umap_n_epochs — 0 (default, umap-learn's own dataset-size-based auto-selection) or a positive int to

fix the SGD optimisation iteration count. Opt-in (T1.3, ARI-stability plan Aug 2026). Real-data testing found no ARI benefit (500 = identical to auto; 1000 = worse), so left off by default.

### HDBSCAN

min_cluster_size — minimum cluster size is swept automatically; this is the anchor for the sweep

min_cluster_freq — minimum cluster frequency to retain (default 0.002 = 0.2% of bins)

preferred_clusters_lo / preferred_clusters_hi — soft target range for cluster count

### MLP Classifier

mlp_hidden — hidden layer sizes, e.g. 100,50 (default, legacy) or 256,128,64 (recommended for larger datasets)

mlp_max_iter — maximum training iterations (default 1000)

mlp_alpha — L2 regularisation strength (default 0.001)

mlp_class_weight — balanced (recommended) or none

mlp_early_stopping — reserve 10% as validation set to stop when loss plateaus

### HMM

hmm_n_iter — Baum-Welch EM iterations (default 100)

hmm_n_components — number of HMM states (default = number of HDBSCAN clusters)

hmm_emission_mode — "soft" (default since Aug 2026): hmmlearn.GaussianHMM fitted on the MLP's

per-bin class-probability vectors instead of collapsed hard labels — an uncertain frame (near-uniform probability row) is smoothed with less confidence than a near-100%-sure frame, unlike the old hard-label HMM which treated both identically. "categorical" (pre-Aug-2026 default) restores the old hmmlearn.CategoricalHMM-on-hard-labels behavior exactly.

hmm_smoothing_level — "bin" (default since Aug 2026): trains/decodes at 100ms-bin resolution instead

of the frame-repeated sequence, avoiding a transition matrix diluted by trivial within-bin self-transitions, and running faster. "frame" (pre-Aug-2026 default) restores the old frame-resolution behavior. No effect when hmm_emission_mode="soft" (already bin-resolution unconditionally).

hmm_transition_prior — "per_cluster" (default since Aug 2026): each cluster gets its own

self-transition prior derived from its mean observed bout duration, instead of one flat 90%/10% prior for every state ("global", pre-Aug-2026 default) — avoids over-smoothing naturally brief behaviours under the same assumption used for naturally long ones. Applies to both hmm_emission_mode values.

To reproduce the exact pre-Aug-2026 HMM pipeline, set all three explicitly:

hmm_emission_mode="categorical", hmm_smoothing_level="frame", hmm_transition_prior="global".

Note (Aug 2026, ARI-stability implementation pass): the "Consensus Clustering" and refinement-related subsections below (consensus_cluster(), refine_clusters_iterative(), hdbscan_split_silhouette_thresh, etc.) describe functionality that is not currently present in cube_core.py on this branch — it exists only in an uncommitted git stash (stash@{0}, "pre-ARI-implementation checkpoint 2026-08-11") taken before this pass began, not in origin/main. This guide was already updated to document that work, but the corresponding code was never committed. See ARI_STABILITY_IMPLEMENTATION_PLAN_2026-08.md's Changelog for the full finding. The items below that genuinely exist in the current code are seed_sweep_n, seed_sweep_n_jobs, umap_init, and umap_n_epochs.

### Seed Sweep

seed_sweep_n — number of UMAP seeds to sweep for cluster stability measurement (0 = disabled, 5–10 recommended for reproducibility checks). Produces plots/cluster_stability.png.

seed_sweep_n_jobs — parallel dispatch of the seed sweep's per-seed UMAP+HDBSCAN fits via joblib, thread pool (prefer="threads" — not separate processes; see the hdbscan_split_n_jobs note below for why threads are required on Windows). -1 (default) = auto-managed (see System Resources, below) when auto_resource_management is on, else literal "all cores"; 1 = sequential, the pre-Aug-2026 default behaviour; 2–cpu_count = pin an exact worker count. Speeds up the sweep only; does not change its results. (T1.P, ARI-stability plan Aug 2026.)

Each seed's HDBSCAN output is also passed through the iterative split/merge refinement pass (same logic as

the primary partition, via a shared refine_clusters_iterative() helper) before its cluster count and ARI are recorded. So when refinement is on (the default), the reported stability reflects the refined partition you actually get, not just the pre-refinement HDBSCAN candidate. Per-cluster split/merge decisions are not logged per seed (to avoid log spam) — only the resulting cluster count. When refinement is off (both thresholds disabled), this is a no-op and the sweep behaves exactly as before.

### Consensus Clustering (auto-triggered by default, Aug 2026)

consensus_clustering_enabled — False (default, meaning "not forced on"). True replaces the primary

single-seed HDBSCAN partition with one built from agreement across consensus_n_seeds independent seeds: run UMAP+HDBSCAN that many times, build a co-association matrix (fraction of seeds placing each pair of bins in the same non-noise cluster), then cluster that matrix once with Ward-linkage hierarchical clustering.

Auto-trigger: even when left at its default, consensus clustering switches on automatically if the

seed-sweep diagnostic (seed_sweep_n, on by default) reports mean_ari below consensus_auto_threshold (default 0.5) — i.e. the UMAP embedding itself is seed-unstable for this data (a real, documented general property of UMAP+HDBSCAN pipelines on some datasets, not a bug specific to any one recording), and no amount of HDBSCAN min_cluster_size/selection tuning fixes that, since the instability originates upstream of HDBSCAN entirely. A log line ([CONSENSUS-AUTO]) always states when this fires and why. Set consensus_clustering_enabled=False explicitly to opt out of the auto-trigger entirely (always respected — an explicit False is treated as deliberate, never overridden); set consensus_auto_threshold=0 to disable auto-triggering while still allowing manual consensus_clustering_enabled=True.

Why 0.5 and not the existing 0.7 "pass" bar used elsewhere for cluster_stability's warning: validated

real-data range was 0.19–0.31 for genuinely broken partitions, and 0.57 after just the umap_n_neighbors floor fix alone (still under 0.7 but no longer clearly broken) — 0.5 sits between those, so moderate instability still just warns while severe instability self-heals via consensus.

consensus_n_seeds — how many seeds to build the co-association matrix from (default 8).

consensus_linkage — default "ward". Don't change this casually: "average" and "complete" linkage were

both tested and collapsed the whole dataset into one giant cluster (they chain through the noisy co-association matrix), while Ward gave well-separated, balanced clusters.

consensus_max_memory_gb — safety guard on the O(n_training_bins²) co-association matrix (float32): ~200

MB at 7,000 training bins, but ~1.6 GB at 20,000 and ~10 GB at 50,000. Checked before the consensus_n_seeds × UMAP+HDBSCAN loop runs, so an oversized dataset aborts immediately (falls back to the primary result) instead of burning that runtime and only then failing at allocation. Default 4.0; 0 = no limit.

Cost: roughly consensus_n_seeds× the runtime of the primary UMAP+HDBSCAN stage — this is why it's not

unconditionally on for every run, only when explicitly requested or auto-triggered by real instability.

consensus_n_jobs (default -1, auto-managed) — parallel dispatch of the per-seed UMAP+HDBSCAN fits via a

thread pool, same -1/1/N semantics and mechanism as seed_sweep_n_jobs / hdbscan_split_n_jobs below. Added because this loop previously had no parallel dispatch at all (a plain sequential loop regardless of cfg) — every other seed-loop in the pipeline already had a working *_n_jobs mechanism; this was the one gap. See the caveat under System Resources below: fixing dispatch here does not by itself guarantee a faster wall clock, since profiling showed the dominant per-seed cost is Python-level HDBSCAN sweep orchestration rather than pure numeric compute, which may not release the GIL.

Redundant seed-sweep skipped when forced on (Aug 2026): when consensus_clustering_enabled=True

explicitly, the standalone seed_sweep_n diagnostic sweep is skipped — its only purpose (deciding whether to auto-trigger consensus) is already moot once consensus is unconditionally on. cluster_stability.png and the stats it needs are instead derived for free from consensus_cluster()'s own per-seed partitions (a real [STABILITY] Seed sweep skipped: ... log line explains why). Saves ~10 minutes per run. Only applies to the explicit-True case — when consensus is only auto-triggered, the sweep still has to run first to make that decision, so nothing changes there.

When active (manually or auto-triggered): the iterative split/merge refinement pass and the silhouette

clustering-quality validation gate are both skipped for this partition (both assume labels come from the same single HDBSCAN fit as the embedding they're being checked against, which isn't true for a consensus partition) — check the logged separation_ratio (mean co-association within clusters vs. between clusters) instead; validated real-data runs saw 3–14×.

### Kinematic Directedness (opt-in, v6)

kinematic_directedness_enabled — False (default, opt-in only, and never auto-enabled — this changes

visible output schema, so unlike consensus_clustering_enabled's auto-threshold trigger it never flips itself on based on data characteristics). Toggled from the main window's Environments, Objects, Paradigms... button, next to Environmental Context — enabling both together also unlocks approach/avoid object-interaction events (see below). Set True to write an additional per-session sidecar CSV, <stem>_bout_lengths_hmm_enriched.csv, alongside the canonical *_bout_lengths_hmm.csv (which is never itself modified, in either state of this flag).

The sidecar repeats the canonical 3 columns (for self-contained joinability) plus 5 new per-bout columns:

net_displacement_px (straight-line distance from the bout's first to last frame), path_length_px (summed frame-to-frame travel distance), straightness_ratio (net ÷ path — 1.0 = perfectly straight movement, near 0 = meandering or returning close to the start), mean_speed_px_s, and heading_consistency (mean resultant length of the bout's unit step-heading vectors — 1.0 = every step points the same direction, near 0 = directionally random). Bouts shorter than 5 frames skip straightness_ratio/heading_consistency (NaN) since both are noisy or undefined on very short bouts; the other three columns remain well-defined at any bout length.

When left at its default False, no sidecar file is written at all (not written empty) — verified

byte-identical output for every existing file in both states of the flag.

predict_from_saved_model (running an already-trained model on new sessions without retraining) also

honors this flag from the saved model's own config. That path has no HMM-smoothed bout variant at all, so its sidecar is named <stem>_bout_lengths_enriched.csv (no _hmm), pairing with the raw bout CSV it actually produces.

This is the K1/K2 foundation from Kinematic_Transition_v6_Implementation_Plan.md; per-cluster kinematic

signatures (cluster_kinematics.csv, see Output Files above) are unconditionally joined into the Analyser's per-cluster metrics table (Top-N Bar / Volcano / Heatmap "Metric:" selector) with no flag required, since that only reads a file that already exists once the pipeline has run.

### Environmental Context & Object Interaction (opt-in, v6 part 2)

env_features_enabled — False (default, opt-in only, never auto-enabled, same "changes visible output

schema so it never flips itself on" reasoning as kinematic_directedness_enabled above). Set from the main window's Environments, Objects, Paradigms... button (not nested inside Advanced CUBE Analysis), which also holds the interaction-threshold field, an auto-threshold preview, and kinematic directedness — ticking the checkbox there enables the Configure Arena, Regions & Objects... button, which opens EnvContextWindow.

`EnvContextWindow` leads with a mandatory, project-wide paradigm choice — Open Field, Novel Object /

Animal Recognition, Y-Maze, Elevated Plus Maze, Three-Chamber Test, Place Preference / CPP, or Custom — that determines which drawing tools, naming suggestions, and role dropdowns are shown. Only one paradigm is configured per project; a batch that genuinely mixes experiment types needs separate CUBE projects.

Tab 1 "Define Reference Arena": trace an arena boundary and any number of named regions/objects on a

reference video frame (click points, then Finish Shape; every shape, including the boundary, needs >= 3 points — a 2-point "boundary" can't form a closed region). Each paradigm shows its typically-needed tool(s) expanded by default, with the other tucked under a collapsed Advanced toggle — never fully hidden, since real experiments sometimes deviate from the textbook setup. Regions/objects relevant to the chosen paradigm's derived metrics get a Role dropdown (e.g. Novel Object's objects: Familiar / Novel; Y-Maze's regions: Arm / Hub) — the metric keys off this explicit role, not the shape's display name, so you can name shapes however you like. A non-blocking warning explains when a paradigm's specialized metric can't compute yet for lack of enough role-tagged shapes (e.g. Y-Maze needs >= 3 regions tagged Arm). Save as Template... / Load Template... persist the paradigm + traced shapes to a JSON file for reuse across projects.

Tab 2 "Apply to Other Videos": every other paired video gets the reference shapes overlaid by default

(no action required if that already looks correct — nothing is forced). Drag anywhere on the frame to nudge the whole shape set together (a single translate offset, covering the common case of a slightly shifted camera). The Edit individual shapes toggle switches that video into an independent override where each shape can be dragged on its own — the escape hatch for when a simple shared nudge isn't enough (the arena itself changed, or the camera was also rotated/re-zoomed). Reset to Reference clears a video back to the identity default.

Coordinate-space correctness is handled structurally, not by a runtime check: EnvContextWindow

always reads video frames through the same crop rectangle (Advanced Settings → DLC crop region, if one is configured) that DLC itself tracked on, so traced shape vertices land in the same pixel coordinate space as the pose data by construction.

`env_interaction_threshold` — blank/unset (default) auto-derives a physically meaningful "one body

length" pixel distance per session from that session's own tracked spine length, used as the object-contact threshold for interaction-bout detection. Enter a specific positive pixel value in the Environments, Objects, Paradigms window to override, or click Preview auto value to see what the auto-derived value would be for this project's first paired DLC file before deciding.

With the flag off, or on but nothing traced yet, this is a true no-op: no session_env_context.json, no

bout-CSV columns — verified byte-identical output in both cases.

Output: model/session_env_context.json (per-session per-bin region/object time series + summaries +

paradigm-gated derived metrics — spontaneous alternation % for Y-Maze, open-arm time/entries/latency for Elevated Plus Maze, discrimination index for Novel Object, sociability/social-novelty indices for Three-Chamber, preference index for Place Preference/CPP). Region/object columns (pct_time_in_region_<name>, pct_time_near_object_<name>, mean_heading_angle_to_object_<name>) are appended to the same *_bout_lengths_hmm_enriched.csv sidecar kinematic_directedness_enabled uses — if both flags are on, one sidecar carries both plans' columns.

With BOTH env_features_enabled and kinematic_directedness_enabled on, a rule-based approach/avoid

detector additionally writes <stem>_approach_events.csv (only when at least one event is found), with a classification column of "approach" or "avoid" (a bout can produce either, both, or neither): a fast, straight-line bout immediately followed by a slower investigation-type bout, ending within env_interaction_threshold of a traced region/object, is flagged "approach" and tagged with that region/object; a fast, straight-line bout that started near a traced object/region and ended meaningfully farther away (or left the region) is flagged "avoid," with no following-bout requirement.

This is the v6 part 2 foundation from Environmental_Context_v6_Implementation_Plan.md; the corresponding

Analyser-side "Paradigm Results" reporting tab is tracked separately in CUBE_Analyser_Paradigm_Reporting_Plan.md.

### Split-Pass Performance Bounds (Aug 2026)

The iterative split/merge refinement pass's split side (hdbscan_split_silhouette_thresh, on by default) used to run a full 40-step × 2-method HDBSCAN sweep for every impure-cluster candidate found — fine for one or two candidates, combinatorially expensive when a partition has many. Confirmed on a real 21-session dataset: one seed with an unusually fragmented raw partition took 25+ minutes in the split pass alone, vs. 1–2 minutes for every other seed. Three independent, opt-out cfg keys now bound this:

hdbscan_split_max_candidates — hard ceiling on candidates attempted per refinement iteration, worst-silhouette-first (default 10).

hdbscan_split_candidate_cutoff — 0 (default) = auto: a stricter silhouette bar (hdbscan_split_silhouette_thresh / 2) applied before the ceiling above — only the worst-of-the-worst clusters attempt a split by default, falling back to the worst-N by silhouette only if that cutoff leaves too many (or none).

hdbscan_split_sweep_n_steps — mcs steps for each candidate's local sweep (default 12, vs. 40 for the primary whole-session sweep) — a few-hundred-point local subset doesn't need fine resolution to find 2–3 sub-clusters. hdbscan_method is also forced to "eom" only for these local sweeps.

hdbscan_split_n_jobs — parallel workers for the (independent, disjoint-point) candidate loop, using a thread pool (not separate processes — process-based parallelism triggered a real Windows crash in testing, a numba JIT-compilation race across processes; threads avoid it since HDBSCAN/numba release the GIL during their heavy numeric work anyway). Default -1 = auto-managed (see System Resources, below) when auto_resource_management is on, else literal "all cores"; 1 = sequential.

Set all four to their old values (max_candidates very high, candidate_cutoff equal to hdbscan_split_silhouette_thresh, sweep_n_steps=40, n_jobs=1) to reproduce exact pre-Aug-2026 split-pass behavior, minus the runtime.

### System Resources (Aug 2026)

The primary HDBSCAN min_cluster_size sweep (run_hdbscan(), up to 40 steps × 2 methods) used to run as a plain sequential Python loop — most CPU cores sat idle for the majority of a run's wall-clock time, even on machines with plenty of headroom. It's now dispatched in parallel via the same thread-pool pattern documented above for hdbscan_split_n_jobs (safe on Windows: threads, not processes, since HDBSCAN's Cython core and numba's nopython functions both release the GIL). Candidate selection afterward is unchanged — best-score pick over an unordered list — so parallel execution cannot change which candidate is selected; verified byte- identical cluster labels between the old sequential path and the new parallel one on synthetic and real data.

Rather than exposing a raw "how many threads" knob, CUBE detects the machine's cores and RAM at run start (psutil) and sizes the thread pool automatically:

auto_resource_management (default True) — master toggle. When on, -1 on any of

hdbscan_sweep_n_jobs / hdbscan_split_n_jobs / seed_sweep_n_jobs / consensus_n_jobs means "auto-managed" instead of literal "all cores." Any other explicit value (1 = sequential, or a pinned worker count) is honoured exactly as given, on or off.

system_resource_target_pct (default 0.65) — ideal sustained utilization while the sweep is running: the

60–70% band, not a hard pin.

system_resource_cap_pct (default 0.80) — hard ceiling, never exceeded regardless of core count.

hdbscan_sweep_n_jobs (default 1, changed from -1 later in Aug 2026 — see the crash note just below) —

the parallel-sweep knob itself, same -1/1/N semantics as hdbscan_split_n_jobs. Set to -1 to restore parallel dispatch (auto-managed) if you want the wall-clock win back and are not on Windows / haven't hit the crash below.

Thread-oversubscription fix, and a GIL caveat found while testing it: neither seed_sweep_stability() nor split_impure_clusters() capped numba's or BLAS's own internal thread pools inside each joblib worker thread — numba by default uses every logical core for its own parallel regions, independent of any *_n_jobs joblib setting (confirmed numba.get_num_threads() == 32 on a 16-core/32-thread box). With N concurrent outer worker threads each also trying to claim all cores for its own UMAP fit, the result was real CPU oversubscription. Both libraries are now capped to 1 thread per worker (numba: thread-local, safe to set independently inside each worker; BLAS via threadpoolctl: documented as process-global, not thread-local — capped once around the whole Parallel(...) dispatch instead of per-worker, to avoid workers racing on a shared limiter). This is a real, verified fix and is not expected to regress anything. However, direct benchmarking (2,500 and 12,000 training bins) showed it does not produce a net wall-clock win for seed_sweep_stability — parallel ran roughly tied with sequential at both scales, not faster. The likely reason: run_hdbscan()'s 40-step sweep is dominated by Python-level orchestration (looping candidates, computing DBCV, building condensed trees), not pure Cython/numba compute, and that code path may not release the GIL — so running seeds concurrently on Python threads (required on Windows; process-based loky workers hit the numba JIT-compilation race noted under hdbscan_split_n_jobs) can't get real multi-core throughput from that portion no matter how the thread pool is sized. A genuine wall-clock fix for the seed sweep would need process-based parallelism with a JIT warm-up step to dodge that crash — not yet implemented; flagged here for anyone picking this up later.

Heap-corruption crash found at this exact call site (Aug 2026, later than the oversubscription fix above): even with the numba/BLAS oversubscription guards in place, crash_diagnostics.log (see Troubleshooting) captured a real run faulting here with Windows fatal exception: code 0xc0000374 (heap corruption inside the CRT allocator) — dozens of threads live inside hdbscan_.py's _tree_to_labels, all dispatched through the primary sweep's joblib thread pool. This is the identical crash signature already documented for seed_sweep_n_jobs / consensus_n_jobs (both changed to sequential by default for the same reason); the primary sweep just hadn't been switched over yet, since the earlier SIGABRT fix (the oversubscription guards above) had looked like a complete fix for that call site at the time. hdbscan_sweep_n_jobs's default is now 1 (sequential) to match its two siblings. Not reliably reproducible on demand — this is a safety margin, not a pinned-down root cause — so if you deliberately set it back to -1 for the wall-clock win, be aware the underlying hazard (joblib threading backend + numba JIT + HDBSCAN's Cython core contending under threads on Windows) is still there.

The resolved budget is re-checked (cheap — just a psutil.virtual_memory() call) immediately before each heavy stage dispatches, and shrinks — never grows past the cap — if available RAM has dropped since the last check (e.g. another application started using memory mid-run). A [SYSTEM] line at the top of the run log reports detected cores/RAM and the resolved budget; [MEMORY] lines at each major stage boundary (feature extraction, UMAP, HDBSCAN, MLP, per-session export) report current and peak process RSS. publication_metrics.json now includes peak_rss_gb (real process memory via psutil, covers numpy/BLAS temporaries) alongside the existing peak_memory_gb (Python-heap only, via tracemalloc) — the two measure different things and neither replaces the other.

UMAP's own embedding step is not covered by any of this and stays forced single-threaded (umap_n_jobs=1) regardless of these settings — multi-threaded UMAP's nearest-neighbour search is non-deterministic even with a fixed random_state, so this preserves exact embedding reproducibility across re-runs of the same data.

### Compatibility Mode

compat_mode — set to legacy_v2 to reproduce pre-v2.1 numeric defaults exactly. See Section 10.

## 9. Session Autosave and Resume

CUBE automatically saves pipeline state after each completed step to a .pipeline_session.json file in the output directory. If CUBE crashes or is closed:

Re-open CUBE.

Select the same output folder.

CUBE detects the saved session and offers to resume from the last completed step.

The autosave contains: output paths, parameter settings, step completion flags, and DLC model state. It does not contain the numerical data (that is re-loaded from the output files when resuming).

## 10. Compatibility Mode

CUBE v4 introduced corrected defaults (previously v2.1). To reproduce results from an earlier run exactly:

Open Advanced CUBE Settings.

Set Compatibility mode to legacy_v2.

This reverts:

umap_min_dist from 0.1 back to 0.0

hdbscan_mcs_anchor from "embedding" back to "full"

angular_fallback from False back to True

Only keys that were not explicitly set by the user in the current session are reverted — explicit overrides always win. The analysis version is stamped in feature_config.json and validation_report.json so each output folder records which defaults were used.

## 11. Troubleshooting

### "No clusters found" after Step 3

Check the log — HDBSCAN may have returned all noise points. Try lowering min_cluster_size anchor, or increasing n_neighbors.

Ensure DLC tracking quality is good: open a few H5 files and check that likelihood values are mostly > 0.6.

Try lowering the likelihood_threshold if too many frames are being interpolated (check the "% interpolated" log line).

### Very low MLP cross-validation accuracy

Check that min_cluster_freq is not too low — tiny clusters (< 1% of frames) are hard to classify.

Try mlp_hidden = "256,128,64" (larger network) in Advanced Settings.

Enable mlp_class_weight = "balanced" to handle imbalanced cluster sizes.

Check for degenerate UMAP — if umap_3d.html shows all points in one clump, try lowering min_dist or increasing n_neighbors.

### HMM smoothing produces implausibly long bouts

The HMM has a strong self-persistence prior by design. If bouts are too long:

Look at hmm_transition_matrix.png — the diagonal should be high (0.95–0.99) but not 1.0.

Try reducing hmm_n_iter (fewer EM iterations leave the transition matrix closer to prior).

Compare *_bout_lengths.csv vs *_bout_lengths_hmm.csv — if the HMM version looks wrong, the Analyser can be forced to use raw MLP labels by deleting _hmm files.

### Cluster count looks wrong (split/merge refinement, on by default)

Check the run log for the split/merge decision lines — every accepted split or merge is logged individually,

so you can trace exactly which clusters changed and why.

Open plots/cluster_validity.png (or the analyser's Cluster Validity mode) to see the silhouette/

condensed-tree values the split/merge decisions were based on.

If merging looks too aggressive, lower hdbscan_merge_thresh; if splitting looks too aggressive (or is

creating tiny, low-confidence fragments), raise hdbscan_split_silhouette_thresh or reduce recluster_max_iterations.

To fall back to the pre-refinement behaviour entirely, set both hdbscan_split_silhouette_thresh = None and

hdbscan_merge_thresh = 0.0 (the defaults) and re-run.

### DLC inference fails in Step 1

Verify CUDA drivers if using GPU. Run DLC outside CUBE first to confirm it works.

Try Smart Adapt mode disabled — it sometimes fails if the adaptation video does not contain enough diverse frames.

Check that video files are readable by OpenCV: open one in any video player, and try cv2.VideoCapture(path).isOpened() in Python.

### The Analyser shows no animals / empty tables

Confirm the selected folder contains a bout_lengths/ subfolder.

Confirm *_bout_lengths_hmm.csv (or *_bout_lengths.csv) files are present in that subfolder.

Check file naming: files must end in _bout_lengths.csv or _bout_lengths_hmm.csv.

### Group Predictor shows near-chance accuracy for all models

See GROUP_PREDICTOR_REFERENCE.md — Section 16 for detailed guidance. Common causes:

Groups are genuinely behaviourally similar in this recording context.

n is too small (< 6 per group is very challenging).

Group assignments are incorrect.

The wrong feature source is being used — try Custom mode with a targeted cluster subset.

### tkinter "invalid command name" warnings on close

These are harmless. They occur when the application closes and some scheduled GUI update callbacks fire after the widgets they reference have been destroyed. They do not affect analysis results or saved files.

### CUBE crashes silently (no Python traceback, nothing in the log after startup)

This is a native crash, not a Python exception, so it never reaches traceback.format_exc() or the pipeline log. Check Windows Event Viewer → Application log for an Application Error (Event ID 1000) on python.exe. If the faulting module is ucrtbase.dll with exception code 0xc0000409, this is a duplicate-OpenMP-runtime abort: MKL's libiomp5md.dll and scikit-learn's VCOMP140.DLL both initialise in the same process (most likely during the HDBSCAN sweep, which runs many candidate fits concurrently via hdbscan_split_n_jobs), and Intel's OpenMP runtime calls abort() rather than tolerate the second runtime (OMP Error #15). Both cube.py and cube_analyser.py set KMP_DUPLICATE_LIB_OK=TRUE at the top of the file (before numpy is imported) to disable this abort — if you see this crash and are running an older checkout, pull the latest version. If it persists, confirm the conda CUBE env doesn't have a second, differently-versioned MKL or OpenMP package installed (conda list | findstr /i "mkl omp").

Since Aug 2026, cube.py/cube_analyser.py also install a faulthandler-based crash logger at startup (see the entry directly below) — check CUBE_logs/crash_diagnostics.log first before digging into Event Viewer; it usually pinpoints the exact Python thread and source line, which the generic 0xc0000409 above cannot.

### CUBE crashes during the HDBSCAN sweep with crash_diagnostics.log showing Windows fatal exception: code 0xc0000374

This is a heap-corruption fault inside the CRT allocator, distinct from the 0xc0000409 OpenMP abort above. It has been seen at three related call sites — the primary run_hdbscan() sweep, the cluster-stability seed sweep (seed_sweep_stability()), and consensus_cluster()'s per-seed loop — all of which dispatch many concurrent HDBSCAN fits across a joblib thread pool on Windows. It is not reliably reproducible on demand, so there is no pinned-down root cause; the fix applied is a safety margin, not a guarantee. All three call sites now default to sequential dispatch (hdbscan_sweep_n_jobs / seed_sweep_n_jobs / consensus_n_jobs all default to 1) specifically to avoid this crash. If you deliberately pinned any of those back to -1 or a parallel worker count (e.g. chasing the wall-clock win documented under System Resources) and hit this crash, that is the expected trade-off — set it back to 1 and re-run.

For the full Group Predictor documentation, see [GROUP_PREDICTOR_REFERENCE.md](GROUP_PREDICTOR_REFERENCE.md).

## 12. 3D Multi-Camera Mode (v5)

### Overview

3D mode (new in v5) replaces Step 1 (2D DLC inference) with a full four-camera triangulation workflow. It integrates seamlessly with the existing pipeline: all downstream steps — Load & Smooth (2), Feature Extraction (3), Video Explorer (4), and Analyser (5) — work identically. The only change is in Step 3's feature engine, which switches from 2D to 3D Euclidean geometry automatically when a 3D H5 is detected.

The workflow requires:

Step 0 output — corrected, synchronised MP4s from bonsai_video_corrector.py

`calibration.toml` — an Anipose camera calibration file from a checkerboard recording

Everything else — group assignments, session autosave, ntfy notifications, BSOID prep, the Video Explorer, and the Analyser — works without any changes.

### Prerequisites

| Requirement | Notes |
| --- | --- |
| bonsai_video_corrector.py output | {cam_label}_{session_id}_corrected.mp4 + *_corrected_timestamps.csv + {session_id}_correction_report.json for each session |
| calibration.toml | Produced by anipose calibrate; one file covers all sessions as long as cameras have not moved |
| aniposelib | pip install aniposelib inside the cube conda environment |
| DeepLabCut | Must be in the same environment — same requirement as 2D Step 1 |
| CUDA GPU | Strongly recommended; CPU inference is possible but very slow |

### Enabling 3D Mode

Add your Step 0 output folders to the main CUBE panel (the same folder list used by all steps). Assign experimental groups if needed — group labels carry forward to all session output automatically.

Click the 3D DLC + Anipose tab (⬡ icon, Step 1b row) in the main window.

Click 3D DLC Settings.

Tick Enable 3D DLC + Anipose.

Set Calibration folder — the folder that contains calibration.toml.

(Optional) Set Output folder — where 3D H5s and session subdirectories will be written. Leave blank to write next to each session's source folder.

Adjust any triangulation options (see 3D Settings Reference).

Click Save and close the settings window.

Click Run 3D DLC + Anipose. The pipeline runs all four phases unattended and sends ntfy notifications at each major milestone.

### The Four Phases

#### Phase 1 — Session Discovery

CUBE scans every source folder recursively for completed Step 0 sessions. A session is identified by a shared session_id timestamp across all {cam_label}_{session_id}_corrected.mp4 files.

A session is accepted only if at least 2 camera videos are present and all cameras listed in the correction report have "status": "done".

Sessions are sorted alphabetically by session_id; because session_id is an ISO datetime, this is chronological order.

On a re-run, CUBE reads from session["dlc_3d_source_folders"] (saved at the end of the first run) rather than the main panel folder list — you do not need to re-add source folders.

If the same session_id appears in multiple source folders, the first occurrence wins.

#### Phase 2 — Per-Camera DLC Adaptation and Inference

For each camera label (cam0, cam1, cam2, cam3 by default), CUBE runs the following sequence:

2a. Select representative video

The MP4 with the lowest fill rate (i.e., the fewest duplicated frames) is selected for Zoo model adaptation. This maximises the diversity of genuine animal motion seen by the adaptation step.

2b. Zoo adaptation

DLC SuperAnimal Quadruped is adapted to your specific recording conditions using the representative video. Adapted weights (pose checkpoint + detector checkpoint) are cached in session["dlc_3d_models"] and reused on all subsequent runs for the same camera — re-running the pipeline after adding new sessions does not re-adapt.

Two DLC API paths are tried in order:

dlc.create_video_adaptation_project() (DLC 3.x preferred)

dlc.video_inference_superanimal(video_adapt=True) (universal fallback)

2c. Batch inference

The adapted model runs inference on every corrected MP4 for that camera, across all sessions. Output H5 files are written to {mp4_stem}_results/{mp4_stem}_filtered.h5 alongside each source video.

If a CUDA out-of-memory error occurs, the batch size is halved automatically and inference is retried. This continues until batch size 1; if OOM persists at batch size 1, the video is skipped with an error logged.

2d. Fill-frame masking

After inference, any frame marked as a fill (column 3 of the timestamps CSV = 1) has its DLC likelihood set to 0.0 for all bodyparts. This prevents duplicated frames from contributing confident detections to triangulation. The masking is done atomically (writes to .tmp.h5, then renames).

2e. GPU memory cleanup

gc.collect() and torch.cuda.empty_cache() are called after each camera to prevent VRAM accumulation across the four-camera sequence.

#### Phase 3 — Triangulation and Composite Video

Sessions are triangulated in parallel (up to 4 at once via ThreadPoolExecutor). For each session:

3a. Bodypart alignment

Only bodyparts present in all camera H5 files are triangulated. If a camera is missing a bodypart, a warning is logged and that camera's data is still used for the bodyparts it does have.

3b. Triangulation

aniposelib.CameraGroup.triangulate_ransac() is called by default (RANSAC on). RANSAC rejects camera views where the 2D reprojection error exceeds the configured threshold, making the result robust when one camera is briefly occluded or a detection is spurious. If RANSAC is disabled in settings, triangulate() is used instead. The pipeline falls back gracefully across aniposelib versions.

3c. Likelihood aggregation

Per-camera likelihoods are combined into a single per-point confidence value using the method configured in settings:

min (default) — a point is only considered confident if all cameras agree. Most conservative; recommended for behaviour classification.

mean — average confidence across cameras.

max — a point is considered confident if any camera is confident. Least conservative.

3d. Confidence gate

If Point confidence threshold is set (> 0), any bodypart×frame with combined likelihood below the threshold has its likelihood zeroed. These slots are treated as missing data during BSoid bodypart conservation scoring in Step 2.

3e. 3D H5 output

The triangulated coordinates are written to {session_id}_3d_filtered.h5 — a 4-coordinate DLC-style MultiIndex:

(scorer='cube_3d', bodyparts, coords=['x', 'y', 'z', 'likelihood'])

Writing is atomic: output goes to .tmp.h5 first, then renamed on success. If the file already exists from a previous run, the session is skipped entirely (resume-safe).

3f. Quad composite video

{session_id}_quad.mp4 is created from the corrected camera MP4s:

Each stream is probed for resolution via ffmpeg -i.

All streams are scaled to the most common W×H found across cameras, ensuring a correctly-dimensioned composite even when cameras differ in sensor resolution.

A 2×2 grid is composited: cam0 top-left, cam1 top-right, cam2 bottom-left, cam3 bottom-right.

Encoding tries h264_nvenc (NVENC GPU, preset p4) first; on failure falls back to libx264 -threads 0 -crf 23 -preset fast (all available CPU cores).

3g. Skeleton QC video (optional)

If Export 3D skeleton visualization video is enabled, a matplotlib 3D animation is rendered frame-by-frame and piped to FFmpeg → {session_id}_skeleton3d.mp4. Bodypart connections are inferred from standard DLC name patterns (nose–neck–spine chain, leg chains, ear connections). This is CPU-only and slow; use it for QC checks rather than routine runs.

#### Phase 4 — Handoff to Downstream Steps

Phase 4 bridges the 3D pipeline to the rest of CUBE:

session["dlc_3d_source_folders"] is saved — the original source folder list. Re-runs use this instead of the main panel list so the user does not need to re-add folders.

session["video_folders"] is replaced with the session output directories ({out_root}/{session_id}). Steps 2–5 discover sessions from these paths.

Experimental group labels are carried forward: each session output dir is mapped to the group of its source folder in session["video_groups"].

run_bsoid_prep() is called per session directory, producing BSOID_Project_Ready/ with the BSoid-ready H5 (z column preserved), CSV, bodypart confidence report, and a copy of the quad composite video for example-clip generation.

If Auto-BSOID is enabled, Phase 4 skips inline BSOID prep and the auto-chain handles Steps 2 → 3 on completion.

### 3D Settings Reference

Access via the 3D DLC + Anipose tab → 3D DLC Settings.

#### 3D Mode

| Setting | Default | Description |
| --- | --- | --- |
| Enable 3D DLC + Anipose | Off | Switches Step 1 from 2D to 3D mode |

#### Folders

| Setting | Default | Description |
| --- | --- | --- |
| Calibration folder | (empty) | Folder containing calibration.toml — required |
| Output folder | (empty) | Where to write 3D H5s and session subdirs. Blank = write inside each session's source folder |

#### Camera Configuration

| Setting | Default | Description |
| --- | --- | --- |
| Camera labels | cam0,cam1,cam2,cam3 | Comma-separated label prefixes matching the {cam_label}_ prefix in Step 0 filenames. Change if you used custom camera names in Bonsai |

#### Triangulation Options

| Setting | Default | Description |
| --- | --- | --- |
| Confidence aggregation | min | How to combine per-camera likelihoods: min (most conservative), mean, max |
| RANSAC triangulation | On | Use triangulate_ransac() to reject occluded-camera views; recommended for free-moving animals where partial occlusion is common |
| RANSAC threshold (px) | 0.5 | Reprojection error threshold for RANSAC inlier classification. Raise if RANSAC is discarding too many valid views; lower for stricter rejection |
| Point confidence threshold | 0.0 (off) | After triangulation, zero likelihood below this value; 0 = disabled. Values around 0.3–0.5 exclude low-quality points from BSoid features |

#### Post-processing

| Setting | Default | Description |
| --- | --- | --- |
| Delete camera videos after quad composite | Off | Frees disk space by removing the four source MP4s once the composite is created. Irreversible |
| Delete per-camera H5s after 3D H5 | Off | Frees disk space by removing the per-camera _filtered.h5 files once triangulation completes. Irreversible |
| Export 3D skeleton visualization video | Off | Renders {session_id}_skeleton3d.mp4 (matplotlib animation, CPU-only, slow) |

### Output Files

Each completed session writes a subdirectory under the configured output root:

<source_folder or output_folder>/
  <session_id>/
    <session_id>_3d_filtered.h5          ← triangulated 3D H5
                                            (scorer='cube_3d', bodyparts, x/y/z/likelihood)
    <session_id>_quad.mp4                ← 2×2 composite (cam0 TL, cam1 TR, cam2 BL, cam3 BR)
    <session_id>_skeleton3d.mp4          ← optional 3D skeleton QC animation
    BSOID_Project_Ready/
      h5/    <session_id>_3d.h5          ← BSoid-ready H5 (z column preserved)
      csv/   <session_id>_3d.csv         ← same data as CSV (used by BSoidEngine)
      videos/<session_id>_3d.mp4         ← quad composite for Video Explorer example clips
      bodypart_confidence_report.csv     ← per-bodypart mean confidence across session

After Phase 4, session["video_folders"] points to these {session_id} directories, so Steps 2–5 discover all sessions automatically without any user action.

### How Downstream Steps Differ in 3D Mode

#### Step 2 — Load & Smooth

Unchanged. The H5 normaliser reads the (scorer, bodyparts, coords) MultiIndex as usual. _h5_has_z() detects the z coordinate column and marks the file as 3D for Step 3.

#### Step 3 — Feature Extraction

BSoidEngine dispatches to extract_features_3d() instead of extract_features_v2() when 3D data is detected:

| Feature | 2D mode | 3D mode |
| --- | --- | --- |
| Pairwise distances | √(dx²+dy²) | √(dx²+dy²+dz²) true 3D Euclidean |
| Velocities | 2D magnitude per bodypart | 3D magnitude per bodypart |
| Angular features | Yes (if spine landmarks present) | Not computed — world coordinates are already scale-invariant |
| Body-size normalisation | Yes (spine-relative) | Not needed |
| Temporal scales | 100 ms + 200 ms | 100 ms + 200 ms |

UMAP, HDBSCAN, MLP, and HMM are dimensionality-agnostic and operate identically on the resulting (N_features, N_bins) matrix.

The z column is preserved through save_bsoid_h5_csv() so _h5_has_z() returns True at BSoidEngine discovery time, ensuring the correct feature extractor is always called.

#### Step 4 — Video Explorer

Unchanged in operation. The Video Explorer plays the quad composite (copied to BSOID_Project_Ready/videos/) as the example-clip source, giving you a simultaneous four-camera view while assigning behaviour names to clusters.

#### Step 5 — Analyser

Unchanged. The Analyser loads *_bout_lengths_hmm.csv files produced by Step 3, which are format-identical to 2D output. Group statistics, ethograms, and the Group Predictor all work without modification.

### Camera Calibration

CUBE does not produce the calibration file — you must generate calibration.toml separately using Anipose before running 3D mode.

Recommended workflow:

Place a standard checkerboard in view of all four cameras simultaneously.

Record 30–60 seconds of footage, slowly rotating and translating the board so every part of the recording volume is covered and the board appears in multiple camera views at many angles.

Run anipose calibrate on the checkerboard recording. Anipose writes calibration.toml to the project folder.

Copy or move calibration.toml to a dedicated calibration folder (e.g., D:\Calibration\2026-06).

Point CUBE to this folder in 3D DLC Settings → Calibration folder.

The same calibration.toml applies to all sessions recorded with those cameras in those positions. Re-calibrate only when cameras are physically moved or the lens focus is changed.

Verify calibration quality: After a triangulation run, open the 3D skeleton QC video (enable the option and re-run, or inspect the 3D H5 directly) and check that bodypart positions look plausible. Very high reprojection errors (visible as jittery or drifting skeleton segments) indicate a poor calibration that should be redone.

### Troubleshooting (3D)

#### "calibration.toml not found"

Set Calibration folder in 3D DLC Settings. The folder must contain a file named exactly calibration.toml (case-sensitive on some systems).

#### "No complete Step 0 sessions found"

Confirm source folders contain *_corrected.mp4 files from bonsai_video_corrector.py.

Check {session_id}_correction_report.json — every camera entry must have "status": "done".

At least 2 cameras must have output; sessions with only 1 camera are excluded.

If you have re-run previously, CUBE reads dlc_3d_source_folders (saved internally). If those paths have moved, clear this by running the pipeline once with the correct source folders in the main panel — it will re-save the paths at the end of Phase 4.

#### "No H5 for cam_X — will be skipped in triangulation"

DLC inference produced no output for that camera video. Check the log for inference errors. Common causes: corrupted video file, DLC installation issue, or the video is too short for the Zoo adaptation process.

#### OOM during inference even at batch size 1

Close other GPU-using applications.

Cameras are processed sequentially; each camera processes its full set of videos before the next begins. There is no way to reduce per-camera parallelism further.

As a last resort, run the pipeline without a GPU by uninstalling the CUDA version of PyTorch and installing the CPU version (inference will be significantly slower).

#### Triangulation produces all-zero or NaN coordinates

A malformed or incorrect calibration.toml is the most common cause. Verify it was generated by Anipose from a simultaneous multi-camera checkerboard recording.

Ensure the camera order in the calibration matches the camera labels in CUBE settings. Anipose names cameras by their folder or file names; these must correspond to cam0, cam1, etc. (or whatever labels are configured).

Try disabling RANSAC (uncheck RANSAC triangulation) temporarily to see if RANSAC is incorrectly rejecting all views.

#### RANSAC rejects too many views

Increase the RANSAC threshold (px) from 0.5 to 1.0 or 2.0. A tight threshold combined with a slightly imprecise calibration can cause RANSAC to classify all views as outliers. Alternatively, disable RANSAC and use standard triangulation.

#### Quad video has wrong aspect ratio or black bars

CUBE normalises all streams to the most common resolution across cameras. If your cameras genuinely differ in sensor resolution, some streams are scaled — this is expected behaviour. The output is always a correctly-dimensioned composite (no dimension mismatch errors at the FFmpeg xstack step).

#### Skeleton video is very slow

The skeleton video renders every frame using matplotlib on the CPU. A 30-minute recording at 30 fps generates 54 000 frames and typically takes 10–30 minutes to render. Leave the option disabled for routine runs and enable it only when you need a visual QC check of a specific session.

#### Sessions are re-processed on every run

CUBE skips a session if {session_id}_3d_filtered.h5 already exists in the output directory. If the file is missing (deleted or the output folder changed), the session will be re-triangulated. DLC inference is not re-skipped automatically — to avoid re-running inference on existing _filtered.h5 files, the H5 detection logic in _find_camera_h5() checks for the file before inference starts.

For the full Group Predictor documentation, see [GROUP_PREDICTOR_REFERENCE.md](GROUP_PREDICTOR_REFERENCE.md).

# CUBE Group Predictor — Complete Reference

The Group Predictor tab answers a single question: given this animal's behavioural profile, which experimental group does it belong to? Rather than testing whether groups differ on individual clusters one at a time, the tool trains a multivariate supervised classifier and evaluates how well the full behavioural fingerprint separates the groups — using Leave-One-Out cross-validation and a permutation test so the result is both predictive and statistically grounded.

## Contents

Rationale

Feature Matrix Construction

Classification Algorithms

The Full Computational Pipeline

Leave-One-Out Cross-Validation

Balanced Accuracy and Cohen's κ

Permutation Test

Cluster Selection — Exhaustive and Greedy

Shapley Feature Importances

Controls Reference

Reading the Results

Interpreting the Null Distribution Figure

Interpreting the Per-Animal Probability Figure

Export CSV

Caveats and Limitations

Tips and User Guidance

## 1. Rationale

Standard group comparisons (Kruskal-Wallis, post-hoc FDR) test one cluster at a time. That is powerful for identifying which behaviours differ but misses combinations of modest differences that together discriminate the groups. A multivariate classifier captures exactly this joint pattern.

Three parallel models always run, each measuring a different behavioural dimension:

| Model | What it measures |
| --- | --- |
| Frequency | How often each cluster occurs per session (bouts/second) |
| Total Duration | Cumulative time spent in each cluster (fraction of session) |
| Transition Probability | Which clusters tend to follow which — the sequential grammar of behaviour |

Running all three simultaneously reveals which dimension the experimental manipulation acts on. A drug may leave bout frequency unchanged while dramatically shifting behavioural sequencing, or vice versa.

When to use it: after assigning experimental groups to animals (e.g., Drug vs. Control, Genotype A vs. B). Requires ≥2 groups and ≥2 animals per group.

## 2. Feature Matrix Construction

### 2.1 Frequency and Duration Features

For each animal, one scalar is computed per cluster:

Frequency — total bout count divided by session length (bouts/second).

Total Duration — sum of all bout lengths divided by session length (fraction of time).

The result is an (n_animals × n_clusters) matrix. Clusters not observed in a given animal receive zero, not NaN.

### 2.2 Transition Probability Features

Consecutive bouts define transitions. For every ordered pair (A → B), raw counts are divided by total transitions out of A (row normalisation). Only off-diagonal transitions are used — the self-persistence diagonal (A → A) is excluded because it conflates bout duration with sequencing behaviour.

When a cluster subset is specified, the full transition matrix is built first, then the sub-matrix is extracted and row-renormalised within the subset. This preserves relative switching probabilities between retained clusters.

The transition model always uses raw cluster labels regardless of the Feature Source setting, because transition probabilities are inherently defined at the cluster level, not the group level.

### 2.3 Feature Source Options

| Option | Frequency / Duration features | Transition features |
| --- | --- | --- |
| Individual Clusters | One column per cluster (all clusters) | All clusters (always) |
| Behavior Groups | One column per user-selected group | All clusters (always) |
| Mix (Both) | All clusters + selected groups (deduplicated) | All clusters (always) |
| Custom | Only checked clusters + checked groups | All clusters (always) |

Individual Clusters — default; tests whether raw cluster usage predicts group.

Behavior Groups — useful when you have annotated groups ("Locomotion", "Grooming") and want to reduce dimensionality to meaningful categories.

Mix — combines both; best when groups and clusters are not redundant.

Custom — tests specific hypotheses: "do clusters 3 and 7 together predict treatment?" Especially useful when you suspect synergistic effects of particular cluster combinations.

## 3. Classification Algorithms

### 3.1 Elastic Net Logistic Regression (Default)

Learns a linear decision boundary with two simultaneous penalty terms:

Lasso (L1) drives small coefficients exactly to zero — automatic feature selection. Clusters that do not help separate groups are eliminated.

Ridge (L2) handles correlated features. B-SOiD clusters often co-occur; without Ridge, Lasso arbitrarily picks one correlated cluster and discards the others, making importances unstable.

For ≥3 groups, multinomial softmax is used — more principled than one-vs-rest when group sizes are unequal.

Hyperparameter grid:

C-grid: [0.001, 0.01, 0.1, 1, 10] for n < 25 animals; wider grid for n ≥ 25.

L1-ratio grid: [0.3, 0.5, 0.7] for n < 25; wider for n ≥ 25.

Inner CV folds: min(3, min_group_size) — scales down gracefully for small cohorts.

class_weight="balanced" — compensates for unequal group sizes.

### 3.2 SVM with Linear Kernel (Alternative)

Finds the maximum-margin hyperplane — the widest gap between nearest training examples from different groups. Raw SVM decision scores are calibrated to probabilities via Platt scaling, enabling ROC curves and per-animal probability strips.

Prefer SVM when: you expect linear separability and want the margin guarantee, or when Elastic Net converges slowly.

### Why Random Forest Was Excluded

With n = 5–6 animals per group, 100 trees fitted on 10 animals is overparameterised by ~10×. LOO accuracy becomes artificially high because the forest memorises the training animals. Random Forest becomes appropriate at n > 30 per group.

## 4. The Full Computational Pipeline

Every run executes this sequence on a background thread, keeping the GUI responsive.

### 4.1 Preprocessing

Every model passes through a fixed sequence before classification:

Raw features
    │
    ▼
[1] VarianceThreshold
    │  Remove features with near-zero variance (< 1×10⁻¹⁰)
    │  Eliminates clusters with identical counts across all animals
    ▼
[2] RobustScaler
    │  Centre and scale using median and IQR (robust to outlier animals)
    ▼
[3] PolynomialFeatures  (frequency/duration models only)
    │  Add pairwise interaction terms: e.g. freq(C4) × freq(C5)
    │  Captures "high C4 AND high C5 together" — cluster combinations
    │  Skipped for Transition model (already captures co-occurrence)
    ▼
[4] Adaptive PCA  (only when n_features > n_animals)
    │  Compress to min(n_animals − 2, 15) principal components
    │  Feature importances are back-projected to original feature space
    ▼
[5] Classifier (ElasticNet LR or Linear SVM)

Why linear classifiers? With typical datasets (10–30 animals), complex non-linear models overfit badly. Linear classifiers have fewer free parameters, are easier to regularise, and their coefficients directly indicate which features push predictions toward each group.

### 4.2 LOO Cross-Validation Paths

Path A (greedy/exhaustive trace available): LOO runs on only the selected clusters/transitions, using a fixed-C pipeline. Reported accuracy is directly comparable to the bar charts in the Shapley and cluster trace plots.

Path B (no trace — Feature Source is Groups or Mix): LOO runs on the full feature matrix with the full elastic-net CV pipeline. Inner CV searches Cs and l1_ratios inside each fold.

### 4.3 Threading Architecture

| Workload | Parallelism | Backend |
| --- | --- | --- |
| Exhaustive combo evaluation | CPU process pool | loky (true multi-core) |
| Greedy step candidate evaluation | Thread pool | prefer="threads" |
| Permutation test folds | Thread pool | prefer="threads" |
| Shapley coalition batch | Thread pool | prefer="threads" |

The exhaustive search uses the loky process pool (not threads) because each LogisticRegression.fit() on tiny matrices spends most time in Python overhead — true multi-process bypasses the GIL entirely.

## 5. Leave-One-Out Cross-Validation

### Why LOO?

With small datasets (< 30 animals), standard k-fold wastes too much data for training. LOO uses N − 1 animals for training each time — the maximum possible training set. This matters when you have only 6–15 animals per group.

### What LOO Does

Repeats N times (N = total animals):

Hold one animal out completely (the "test" animal)

Train the full pipeline on the remaining N − 1 animals

Predict the group of the held-out animal

Record whether the prediction was correct

The final LOO accuracy is the fraction of animals correctly predicted.

### What LOO Accuracy Means

| LOO Accuracy | Interpretation |
| --- | --- |
| ≈ chance level | Model cannot distinguish groups from behaviour alone |
| Moderately above chance | Groups differ but effect is subtle |
| Much higher than chance | Strong, reliable behavioural differences |
| 100% | Perfect separation — treat cautiously with small N |

Chance level depends on the number of groups: 2 groups = 50%, 3 groups = 33%, etc.

Key caveat: 100% LOO accuracy with N < 10 animals per group should be interpreted very cautiously. With 6 animals per group, even a model fitting a single spurious feature can achieve 100% by chance. The permutation test is essential for deciding whether to trust the result.

## 6. Balanced Accuracy and Cohen's κ

### Balanced Accuracy

Raw LOO accuracy can be misleading when groups are unequal in size. If you have 12 controls and 3 treated animals, a model that always predicts "control" achieves 80% raw accuracy while being completely useless for the treated group.

Balanced accuracy = average per-class recall:

Balanced accuracy = (recall_groupA + recall_groupB + ...) / n_groups

where recall for each group = (correct predictions for that group) / (total animals in that group).

Balanced accuracy is the headline statistic for all comparisons and permutation testing.

### Cohen's κ

Agreement beyond chance:

κ = (observed accuracy − chance accuracy) / (1 − chance accuracy)

| κ range | Strength |
| --- | --- |
| < 0.20 | Slight |
| 0.20 – 0.40 | Fair |
| 0.40 – 0.60 | Moderate |
| 0.60 – 0.80 | Substantial |
| > 0.80 | Almost perfect |

κ > 0.6 combined with a significant p-value is a strong indicator of a genuine and replicable behavioural difference.

## 7. Permutation Test

### How It Works

Builds a null distribution by repeatedly shuffling group labels and re-running the full LOO procedure. Both the observed score and the permuted scores are computed as balanced accuracy, ensuring they are on the same scale.

p-value formula (Phipson & Smyth 2010 correction to avoid p = 0):

p = (count of permutations ≥ observed_balanced_acc + 1) / (n_permutations + 1)

### Permutation Count

| Setting | p-value resolution | Runtime |
| --- | --- | --- |
| 99 | ±0.050 | Fastest |
| 199 | ±0.025 | Recommended for exploration |
| 499 | ±0.010 | Recommended for publication |
| 999 | ±0.005 | Most precise, slowest |

### Colour Coding

Green: p ≤ 0.05 (significant)

Amber: p ≤ 0.10 (marginal)

Red: p > 0.10 (not significant)

### Conditional vs. Nested Permutation Tests

| Test | What it does | When to use |
| --- | --- | --- |
| Conditional p(c) | Fixes the greedy cluster selection; only re-runs the classifier under shuffled labels | Fast; default; suitable for exploration |
| Nested p(n) | Re-runs the full pipeline (greedy selection + LOO) for each permutation | Slower; gold-standard; required for publication |

The nested null is wider (more conservative) because re-running greedy selection per permutation adds an extra source of variance. A result significant under the conditional test but not the nested test means the observed clusters may not be robustly re-selected under shuffled labels.

To run the nested test: click Run Nested Permutation Test in the left panel after an initial run completes. A toggle then lets you switch between conditional and nested null distributions.

Key caveat: With very small N (< 6 per group), the minimum achievable p-value is bounded by the number of unique label permutations. With 4 animals per group, there are only 4! = 24 possible permutations, so p cannot go below ~0.04 regardless of how different the groups are.

## 8. Cluster Selection — Exhaustive and Greedy

Before the main LOO run, the pipeline identifies which clusters or transitions actually discriminate the groups. Feeding all clusters into a tiny LOO loop (n ≈ 12 animals, k = 30+ features) collapses accuracy even with regularisation.

### Exhaustive Search (default when combinations ≤ 15,000)

Evaluates every possible combination of k clusters simultaneously. For k = 5 clusters and up to 19 total clusters, all C(19, 5) = 11,628 combinations are evaluated in parallel using a CPU process pool. The combination with the highest LOO balanced accuracy is selected.

| k (contributors) | n = 15 clusters | n = 20 clusters | n = 24 clusters |
| --- | --- | --- | --- |
| 1 | 15 | 20 | 24 |
| 2 | 105 | 190 | 276 |
| 3 | 455 | 1,140 | 2,024 |
| 4 | 1,365 | 4,845 | 10,626 ✓ |
| 5 | 3,003 | 15,504 → greedy | — |

### Greedy Forward Selection (fallback for large spaces)

When C(n_clusters, k) > 15,000, or for the Transition model (up to 380 directed pairs):

Start with empty selected set.

At each step, evaluate adding each remaining candidate in parallel.

Add the candidate giving the highest LOO balanced accuracy.

Stop when max_steps are reached, or when adding any candidate would decrease accuracy.

#### "All" Mode Upgrade

When Max Contributors is set to "All", greedy selection runs first to find the optimal k, then an exhaustive search is triggered at that k (if C(n_clusters, peak_k) ≤ 15,000). This gives the benefits of both strategies.

### Result Figures

Exhaustive mode — left panel (Top-N Combinations): horizontal ranked bar chart showing the top-5 cluster subsets sorted by balanced LOO accuracy. Title tagged [Exhaustive].

Exhaustive mode — middle panel (Cluster Essentiality): vertical bar chart showing how many of the top-5 combinations each cluster appears in. Clusters in the single best combo are starred (★).

Greedy mode: incremental-gain bar chart (showing each cluster's added accuracy) and cumulative accuracy line. Title tagged [Greedy].

The Incremental Gain Bar Chart bars are sorted by incremental contribution, with badge numbers (#1, #2, …) showing greedy selection order. The "tot X%" label shows cumulative LOO accuracy at the step that cluster was added.

## 9. Shapley Feature Importances

Shapley values are the game-theoretic fair attribution of credit: the exact expectation of each cluster's marginal contribution averaged across all possible orders of inclusion — not just the greedy order.

### Formula

For each selected cluster c:

φ(c) = Σ_{S ⊆ selected \ {c}} [|S|!(N-|S|-1)!/N!] · [v(S ∪ {c}) − v(S)]

where v(S) = LOO accuracy using only the clusters in coalition S.

### Computation Modes

Exact (N ≤ 8 clusters): All 2^N coalitions are evaluated (2^8 × 8 = 2,048 LOO evaluations).

Monte Carlo (N > 8): 150 random orderings are sampled. All distinct prefix coalitions are collected first and evaluated in parallel, then the phi summation uses dictionary lookups.

### Interpreting Shapley Values

φ > 0: The cluster genuinely contributes to group discrimination on average across all coalition sizes.

φ ≈ 0: The cluster is redundant — its information is already captured by other clusters.

φ < 0: The cluster actively hurts on average — it introduces noise or misleads the classifier in most contexts.

Why can a cluster have φ < 0 yet still be selected by greedy? Greedy picks the best cluster given the already-selected set. Shapley averages over all sets. A cluster that helps a lot when the dominant clusters are present but hurts when used alone will have positive marginal value in greedy context but negative Shapley. This is the fundamental tension between sequential and average-case importance.

### Verification

The footnote below the Shapley panel shows:

Σφ ≈ baseline − chance: ✓

This confirms self-consistency: Shapley values should sum to (baseline LOO accuracy) − (chance level). If ≈ appears instead of ✓, the Monte Carlo approximation is imprecise — interpret values as rough rankings rather than precise contributions.

## 10. Controls Reference

| Control | Default | Effect |
| --- | --- | --- |
| Feature Source | Individual Clusters | Which features enter Frequency and Duration models (Transition always uses clusters) |
| Algorithm | Elastic Net | Switches between Elastic Net Logistic Regression and linear SVM |
| Prediction Target | Combined | Multi-factor label combining all assigned experimental group columns |
| Permutation Count | 199 | Number of label shuffles; higher = more accurate p-values but slower |
| Max Contributors | 5 | Maximum clusters/transitions selected. "All" = no limit (greedy runs to completion, then upgrades to exhaustive at peak k if feasible) |
| Run Models | — | Launches the three-model pipeline on a background thread |
| Cancel | — | Signals the background worker to stop after the current greedy step. Completed models are displayed normally |
| Run Nested Permutation Test | — | Re-runs the full pipeline (greedy + LOO) for each permutation. Available after an initial run |
| Export CSV | — | Saves per-animal predicted labels and probabilities for all completed models |

## 11. Reading the Results

### 11.1 Comparison Table

| Column | What it shows |
| --- | --- |
| LOO / Bal. Acc. | Simple LOO accuracy / balanced accuracy (shown as two values when they differ by > 0.5%) |
| Chance | 1 / n_groups — baseline for a random classifier |
| Perm. p | Permutation test p-value. Green ≤ 0.05 / Amber ≤ 0.10 / Red > 0.10 |
| Cohen's κ | Chance-corrected agreement (0 = chance; 1 = perfect; negative = worse than chance) |

Star notation: *** → p ≤ 0.001 · ** → p ≤ 0.01 · * → p ≤ 0.05 · † → p ≤ 0.10 · n.s. → p > 0.10

### 11.2 Figure 0 — Model Overview (shown immediately after Run)

Left panel — Accuracy bar chart: paired bars per model (solid = LOO accuracy, hatched = balanced accuracy). Bar colour reflects p-value. Dashed horizontal line = chance level.

Right panel — Cohen's κ scatter: one point per model. Horizontal threshold lines at κ = 0.20, 0.40, 0.60.

### 11.3 Figure 1 — Confusion Matrix + ROC Curve

Click View on a model row to display its detail figures.

Confusion matrix (left): row-normalised recall (blue scale, 0–1). Diagonal = fraction of animals in each group correctly predicted. Off-diagonal = misclassification rates. Right margin: per-class recall. Bottom margin: per-class precision.

ROC/AUC (right): For 2 groups — single LOO curve with AUC. For ≥3 groups — one OvR curve per group plus a macro-average (dashed, shaded). Diagonal chance line included.

### 11.4 Figure 2 — Per-Animal LOO Probability Strips

One dot per animal, sorted by true group then by P(true group). Vertical position = classifier's predicted probability of the animal's actual group. Dots above 0.5 are correctly leaning; below 0.5 indicates uncertain or wrong predictions. Reveals which specific animals the model is most uncertain about.

### 11.5 Figure 3 — Permutation Null Distribution

Histogram of balanced accuracy values from all permuted null models. Dashed vertical line = observed balanced accuracy. Shaded tail region = the p-value. When the observed line sits far right of the null bulk, the model is detecting genuine group structure.

### 11.6 Figure 4 — Feature Contributions

2 groups — Signed coefficient bar chart: bars coloured by direction (orange = pushes toward group B; blue = pushes toward group A). Zero-coefficient features (Lasso-eliminated) are omitted.

≥3 groups — Coefficient heatmap: rows = groups, columns = top 20 features by max |coefficient|. Reveals group-specific directional patterns invisible in a mean-importance bar chart.

Below Figure 4 — Shapley importance strip: shows Shapley φ values for each selected cluster or transition. Shapley values are individually fair attributions, unlike raw coefficients which are jointly determined by correlated features.

### 11.7 Caveat Bar

Auto-generated warnings:

| Warning | Meaning |
| --- | --- |
| n < 10 per group | Small-n regime; high variance in LOO estimates |
| Only N animals in group X | LOO for that class is especially unreliable |
| n_features > n_animals | Overfitting risk even with regularisation |
| Animal X has < 10 bouts | Transition probabilities unreliable for that animal |
| Session ordering matters | Transition model assumes temporal bout order |

## 12. Interpreting the Null Distribution Figure

The null distribution figure (titled "Group Discriminability — Conditional/Nested Permutation Null Test") has one panel per model (Frequency, Total Duration, Transition), allowing side-by-side comparison.

### Histogram (grey-blue bars)

Each bar represents a range of balanced-accuracy values obtained when group labels were shuffled. For a two-group problem, the peak should be near 0.50. A wide histogram means accuracy is highly variable across permutations (common with small N).

### KDE Trace (smooth solid line)

A smoothed probability density estimate of the null distribution, computed via scipy.stats.gaussian_kde (Scott's rule bandwidth). The peak of the KDE is the most common null accuracy. A steep, narrow KDE means your model's accuracy only needs to be slightly above the peak to be significant.

### Shaded Tail (coloured region right of observed line)

The area of this shaded tail is proportional to the p-value. Green (p ≤ 0.05) / Amber (p ≤ 0.10) / Red/Vermilion (p > 0.10). A tiny tail = small p-value.

### Chance Line (dotted vertical line)

Vertical dotted line at theoretical chance-level balanced accuracy = 1 / n_groups. The null distribution should peak approximately at this line. A null distribution peak substantially above chance is a warning sign that feature selection may be leaking label information.

### Observed Accuracy Line (dashed vertical line)

Dashed line at the balanced LOO accuracy from your real data. The further right it sits relative to the null bulk, the more unusual your result is under the null hypothesis.

### Annotation Box (top-right corner)

| Statistic | Meaning |
| --- | --- |
| Bal. Acc. = X% | Balanced LOO accuracy from real data |
| p(c) = 0.045 \* | Conditional permutation p-value |
| Z = +1.99 | Z-score: standard deviations above the null mean |
| Nᵖ = 199 | Number of permutations used |

The Z-score is useful for comparing results across datasets and conditions — Z > 2 roughly corresponds to p < 0.05 for a normal null distribution.

### Common Patterns and What They Mean

| Pattern | Biological interpretation |
| --- | --- |
| All three panels green (lines far right) | Groups differ in frequency, duration, AND transition structure. Robust, convergent evidence. |
| Frequency and Duration significant, Transition not | Groups perform the same behaviours in different amounts but with similar grammar. |
| Only Transition significant | Groups do behaviours with similar frequency/duration but in a different order or context. Examine the transition matrix plots. |
| No model significant (all red) | Groups are behaviourally similar, dataset is too small, or clusters don't capture relevant variation. |
| High accuracy but non-significant p-value | Happens with very small N (e.g. 3 animals per group) — too few permutations to reach p < 0.05 even with perfect discrimination. More animals needed. |

## 13. Interpreting the Per-Animal Probability Figure

Titled "— Per-Animal LOO Predictions". Appears below the confusion matrix when the classifier supports probability output (Elastic Net does; SVM does not).

### Anatomy

Each row = one animal, sorted by true group then by descending predicted probability of the true class.

Stacked horizontal bar: each coloured segment = one experimental group. The width of each segment = the probability the model assigns to that group. The entire bar sums to 1.0.

Border colour: Green = model's predicted group matches true group (correct). Red = wrong.

Left label: animal's true experimental group. Right label: predicted group + ✓/✗ glyph.

Subtitle line: shows Balanced Acc and κ for quick reference.

### How to Use This Figure

Finding hardest-to-classify animals: Animals at the bottom of each group block (lowest true-group probability) are the hardest cases — may be behavioural outliers or have recording quality issues.

Diagnosing misclassifications: Export CSV to correlate misclassified animals with metadata (recording day, body weight, experimenter) to check for confounds.

Correctly classified but uncertain: A green border with a nearly equal-width bar means the model could easily flip to incorrect with a slightly different training set. Not a robust prediction.

One consistently red animal across all three models: likely a genuine outlier or labelling error — investigate before concluding groups don't differ.

## 14. Export CSV

Click Export CSV after running to save animal-level predictions. Columns:

| Column | Description |
| --- | --- |
| animal | Animal name |
| true_group | Assigned experimental group |
| predicted_group | LOO-predicted group |
| correct | True/False |
| P_true_group | Classifier's probability assigned to the true group |

The export reflects the currently selected model (highlighted row in the table).

## 15. Caveats and Limitations

| Caveat | Trigger | Meaning |
| --- | --- | --- |
| High variance | min group size < 10 | LOO estimates are noisy; interpret cautiously |
| Unreliable LOO | any group ≤ 2 animals | A single misclassification can swing accuracy by 50%+ |
| Overfitting risk | n_features > n_animals | Adaptive PCA is applied but regularisation may still be insufficient |
| Transition unreliable | any animal < 10 bouts | Transition probability estimates have high variance |
| Bout order matters | always (transition model) | Transition model assumes bouts are in temporal recording order |

Linear models only: Both Elastic Net and SVM use linear decision boundaries. Non-linear group separation will be missed. Non-linear alternatives require n > 30.

Correlated features: B-SOiD clusters are often correlated. Ridge handles estimation but coefficients and Shapley values reflect joint importance. Do not interpret individual cluster importances as independent effect sizes.

Multiple testing: Running all three models simultaneously increases the probability of at least one spurious p < 0.05. If only one model is significant, especially Transition (which has the largest feature space), replicate in an independent cohort before drawing conclusions.

HMM vs raw labels: The Group Predictor uses HMM-smoothed bout labels if *_hmm files are present. To use raw MLP labels, remove or rename the _hmm files.

## 16. Tips and User Guidance

### Where to Start

Load your folder and assign experimental groups in the Combined Analysis tab.

Open Group Predictor and click Run Models with default settings.

Look for the model with the lowest permutation p-value — that is the behavioural dimension most discriminated by your manipulation.

Click View on the best model to see which clusters or transitions drive the separation.

### Improving LOO Accuracy

Try Custom mode: Test specific cluster combinations hypothesised to differ between groups. Interaction terms are especially powerful — two clusters that individually show no difference may jointly predict treatment.

Use Mix or Custom with groups: Group-level features (e.g., total locomotion time) often have lower variance than individual cluster proportions.

Increase n: LOO accuracy is most reliable with ≥10 animals per group. Small n is the single biggest driver of instability — no statistical method fully compensates.

Check group assignments: Misassigned animals are the most common reason for near-chance accuracy.

SVM with many clusters: For high cluster counts (≥12), try SVM after selecting a subset in Custom mode.

Use Max Contributors to stress-test: Re-run with Max Contributors = 1, 2, 3. If accuracy collapses when restricted to 2 clusters, discrimination depends on many subtle features which is harder to replicate. If 1–2 clusters maintain near-full accuracy, the effect is robust.

### Reading Multiple Models Together

High accuracy + red p-value with small N: With 2 groups of 5 animals each (n = 10 total), LOO accuracy of 70% is not statistically significant — the permutation space is simply too small. Treat the permutation p-value as the primary evidence, not the accuracy.

Frequency and Transition models agree: Convergent evidence across two feature types substantially strengthens the finding.

Only Transition significant: Examine which transitions are elevated in the greedy trace — this reveals not just what behaviours differ but when and in what context.

High LOO vs. high balanced accuracy diverge: If LOO = 80% but balanced = 55%, the model is exploiting group-size imbalance. Use balanced accuracy as the primary metric.

### Comparing Greedy Order to Shapley Values

Clusters selected early by greedy should have the highest Shapley values.

A cluster selected early by greedy but with a low or negative Shapley value may only help in combination with the specific clusters selected at later steps — not universally useful.

A cluster with positive Shapley but not selected by greedy is often informative individually but redundant given the already-selected clusters.

### Re-run After Removing Outlier Animals

If one animal is a clear behavioural outlier (visible in the UMAP or heatmap panels), temporarily remove it and re-run. If accuracy jumps dramatically, the result depends heavily on that single animal — not a robust population-level effect.

### Publication Checklist

Run 999 permutations for final results (resolution 0.001).

Run the Nested Permutation Test to confirm cluster selection stability.

Report both LOO accuracy and balanced accuracy, plus Cohen's κ and the permutation p-value.

Indicate the number of permutations and whether conditional or nested.

Note which Feature Source and Max Contributors were used.

If only one of the three models is significant, acknowledge the multiple-testing consideration.

# CUBE Behavioral Paradigms Reference

### Data requirements, staging, use cases, and limitations for the Analyser's Paradigm Results tab

This document is the scientific reference for CUBE's Paradigm Results tab (cube_analyser.py, ParadigmResultsPanel) — what data and tracing each paradigm-specific view requires, at which pipeline stage, what each graph answers, and where the analysis is known to be limited. It is a companion to README.md (feature summary), CUBE_GUIDE.md (step-by-step usage), and CUBE_ANALYSIS_METHODOLOGY.md (clustering methodology) — this document covers only the paradigm-reporting layer built on top of the Environmental Context feature (env_features_enabled) and, for two graphs, the Kinematic Directedness feature (kinematic_directedness_enabled). Implementation detail beyond what a user/reviewer needs is in Environmental_Context_v6_Implementation_Report.md, Kinematics_v6_Implementation_Report.md, and Analyser_Paradigm_Reporting_v6_Implementation_Report.md.

## 1. Prerequisites — what must exist before the tab shows anything

The Paradigm Results tab reads three files a pipeline run writes under <output_dir>/: model/session_env_context.json, bout_lengths/*_bout_lengths_hmm_enriched.csv, and bout_lengths/*_approach_events.csv. None of these are written unless the corresponding pipeline flags were set before that run, and — critically — the arena/region/object tracing itself is a project-wide, pre-run configuration step, not something done after the fact in the Analyser. A session run without env_features_enabled=True cannot retroactively gain occupancy/region data by opening it in the Paradigm Results tab; the pipeline must be re-run.

| Stage | Action | Governs |
| --- | --- | --- |
| 1. Before Step 3 (Clustering Engine) | Main window → Environments, Objects, Paradigms... → tick env_features_enabled → Configure Arena, Regions & Objects... → EnvContextWindow | Master switch; without this, no environmental data is ever computed, regardless of what happens later |
| 2. Inside EnvContextWindow, Tab 1 | Choose one paradigm (project-wide — see §5.1) and trace a boundary + named regions/objects with roles, on one reference video frame | env_arena_cfg["reference_shapes"] — the shape set every session inherits by default |
| 3. Inside EnvContextWindow, Tab 2 (optional) | Per-video translate or independent override, if the arena moved or was repositioned between recordings | env_arena_cfg["per_video"] — per-session correction on top of the reference shapes |
| 4. Same Environments, Objects, Paradigms... window | Tick kinematic_directedness_enabled | Required for: total-distance-traveled (Open Field control bar), and entirely required for Approach/Avoid Events (needs straightness_ratio/mean_speed_px_s per bout) |
| 5. Run the pipeline (Step 3) | BSoidEngine.run() | Writes session_env_context.json, the enriched bout sidecar, and (if both flags 4a/4b are on and events are detected) approach_events.csv |
| 6. Analyser, Combined Analysis tab | Load the resulting *_bout_lengths_hmm.csv files as usual | Populates get_animals_fn — the Paradigm Results tab locates its sibling files from each animal's bout-CSV path |
| 7. Analyser, Paradigm Results tab | Click Refresh from Loaded Sessions | Loads and renders |

A session loaded without step 1 (or from a pre-v6 run) shows "no environmental context data for any loaded session" for every sub-view — this is the documented, tested graceful-degradation path, not an error.

## 2. Shared components (every sub-view uses these)

### 2.1 Occupancy heatmap

A 2D histogram (numpy.histogram2d, 40×40 bins by default, viridis colormap) of the animal's centroid position (mean of all tracked bodypart x/y coordinates), pooled across every currently-loaded session that has environmental data. This is the position/spatial figure for every sub-view.

Region/object outlines drawn on top are an approximation, not the traced shape. env_arena_cfg's traced polygon vertices are never written to any per-run output file — they exist only in cube.py's session-local GUI state — so cube_analyser.py has no way to draw the literal traced boundary. The outline shown is instead the convex hull of the centroid positions actually recorded as belonging to that region (via current_region) or as interacting with that object (nose/paw within interaction_threshold_px). This is a real, disclosed limitation: a convex hull is by definition a superset of an irregular or concave true shape (e.g. an L-shaped chamber, or a Y-maze's non-convex arm junction), and depends on the animal having actually visited enough of the true boundary to approximate its extent. Labeled "(approx.)" in every plot title/annotation. Do not use the drawn outline itself as a precise spatial reference — use it only as a rough visual anchor for where a region sits relative to the density map.

### 2.2 Arena/region cluster-and-group cross-tab

Two grouped bar charts, built once and shown on every sub-view: cluster-by-region (% of time each HDBSCAN/MLP/HMM behavioral cluster spends in each named region, weighted by bout duration) and group-by-region (the same, split by experimental group instead of cluster). This answers "where in the arena does behavior X happen" and "does the treatment group occupy different regions" directly, without requiring the user to manually cross-reference the per-cluster and per-region summary numbers. Both are derived from the enriched bout sidecar's pct_time_in_region_<name> columns (Environmental Context Step 6), not recomputed from raw position — so their accuracy is bounded by that column's own accuracy, not an independent measurement.

### 2.3 Time-course, ethogram, distribution, and paired plots

A second wave of shared components (added after the initial seven-sub-view build), all built from data already present in session_env_context.json — no pipeline/schema change was needed for most of them, since compute_session_env_context() already tracked nose-point distance and per-bin centroid position. Four new region_roles/object_roles/dist_to_region_boundary_nose/nose_outside_boundary/object_interaction_ bout_lengths_sec keys were added additively (existing keys unchanged) to unlock the rest — see Environmental_Context_v6_Implementation_Report.md's addendum for the exact schema.

Time-course plots (build_timecourse_figure): mean ± SEM line per experimental group, x-axis = % of

trial elapsed (not absolute time, so sessions of different duration still align on one shared axis). Used for: Open Field center-zone %, EPM open-arm %, Discrimination Index / Sociability investigation distance to the role-tagged object, and CPP cumulative chamber crossings.

Region ethogram strip (build_region_ethogram_figure): one horizontal row per session, colored by

which region the animal occupied over time — the Y-Maze arm-entry sequence view, mirroring the existing behavior-ethogram's broken-barh visual language.

Bout-duration distribution (build_distribution_figure): overlapping per-group histograms + a rug of

individual bout durations underneath — each point is one investigation bout, not one animal. Used for Discrimination Index and Sociability's object-interaction bouts, and Open Field's per-animal mean-speed distribution.

Paired pre/post dumbbell (build_paired_dumbbell_figure): one connecting line per matched subject

(Repeated Measures design only) — CPP's pre → post preference-index shift, the standard CPP figure showing individual-animal change rather than only a summary delta.

All bar charts in this tab (_index_bar_fig and the region/group cross-tab) additionally overlay each

individual animal's own value as an unfilled ring on top of its group's bar — not just the mean ± SEM.

### 2.4 Statistical conventions

Between-group comparisons (does the metric differ across experimental groups) reuse

run_cluster_statistics() — Kruskal-Wallis omnibus + Dunn's/Mann-Whitney post-hoc for ≥3 groups, both Benjamini-Hochberg FDR-corrected — the identical machinery Unbiased Analytics uses for cluster metrics, adapted to a paradigm-level scalar index (alternation %, discrimination index, etc.) via a single-row wrapper (_scalar_metric_compute_fn) rather than a parallel implementation. Shown as pink/red brackets with */**/*** significance stars.

One-sample-vs-reference tests (does this group's index differ from a fixed expectation — chance level

for Discrimination Index, zero for CPP's delta score) use a paired-t-test or one-sample Wilcoxon signed-rank test (run_one_sample_statistics), independently BH-FDR corrected, shown as cyan †/††/††† dagger markers — a deliberately different visual convention from the star brackets above, so a reader cannot mistake "differs from chance" for "differs between groups." These are two different scientific questions and this tab never overlays them on the same symbol.

Repeated-measures/paired comparisons (CPP pre- vs. post-test) reuse the exact same "Experimental

Design" (Independent/Repeated Measures) and "Group by" controls Unbiased Analytics exposes — Wilcoxon signed-rank (2 levels) or Friedman's test (≥3), paired by Label 3/Animal ID. There is no CPP-specific "is this longitudinal" toggle; a pre/post design is expressed by setting "Group by" to whichever label column distinguishes the phases (e.g. Label 2 = "Pre"/"Post").

Every between-group index gets a mandatory activity/locomotor control metric shown alongside it (see

§3, per paradigm) — a literature-driven design choice, not incidental: a treatment that looks anxiolytic/preferring/discriminating can be, in reality, a treatment that changes general locomotion, and reporting the index alone without the control invites exactly that confound.

## 3. Per-paradigm reference

### 3.1 Generic (all paradigms, default view for Open Field / Custom)

Tracing required: none mandatory (works with a boundary alone), but any traced regions/objects populate the cross-tabs and region-time control bar. Open Field's paradigm-specific extras additionally look for a region whose name contains "center" (case-insensitive — see §5.2) and read path_length_px from the enriched sidecar (requires kinematic_directedness_enabled).

Graphs: whole-arena occupancy heatmap; total-time-in-traced-regions bar (activity control); for open_field specifically, total distance traveled, center-zone entry frequency, a center-zone %-time-course across the trial (thigmotaxis dynamics, §2.3), and a mean-speed distribution across animals; cluster/group cross-tabs.

Use case: the default view for any session that isn't one of the five named paradigms, or a mixed/pilot cohort where no formal paradigm applies yet. Useful as a first-pass spatial sanity check before committing to a specific paradigm's role tagging.

Shortcomings: with no role vocabulary for custom/open_field (ENV_PARADIGM_ROLE_VOCAB defines both as {"regions": None, "objects": None}), there is no formal way to mark a "center zone" — the center-entry control relies on the user having literally named a region containing "center," a naming-convention heuristic that silently produces nothing if the convention isn't followed.

Suggestions: name a center region literally "center" or "center_zone" if using the Open Field thigmotaxis control; enable kinematic_directedness_enabled alongside env_features_enabled if the distance-traveled control matters for the study design — it is not retroactively computable otherwise.

### 3.2 Y-Maze Alternation

Tracing required: ≥3 regions tagged role "arm" (ENV_PARADIGM_MIN_ROLES["y_maze"] = {"arm": 3}); a "hub"-tagged central region is supported and excluded from the alternation sequence.

Graphs: per-arm occupancy heatmap; spontaneous alternation % bar (between-group); total arm entries bar (mandatory activity control, tested as a separate comparison from alternation %, per the field's standard practice — an alternation difference confounded by an entries difference is a common review objection); an arm-entry sequence strip (§2.3), one row per session, colored by which arm (or the hub, shown in gray) the animal occupied over time; cluster/group cross-tabs.

Use case: spatial working-memory assessment — spontaneous alternation % is the field-standard readout, computed from the region-entry sequence with the hub excluded (_region_entry_sequence, Environmental_Context_v6_Implementation_Report.md §Step 4).

Shortcomings: alternation % and entry-sequence quality depend entirely on correct region role tagging (arm vs. hub) — a mistagged hub counted as a fourth arm silently corrupts every alternation triad it appears in. No ground-truth validation of the sequence extraction against hand-scored video exists in this codebase.

Suggestions: verify the hub region is tagged "hub", not left untagged or tagged "arm", before running the pipeline — this cannot be corrected after the fact in the Analyser, since role tags live in env_arena_cfg, not in any per-run output.

### 3.3 Elevated Plus Maze (EPM)

Tracing required: ≥1 region tagged "open_arm" and ≥1 tagged "closed_arm" (ENV_PARADIGM_MIN_ROLES["elevated_plus_maze"]); a "center"-tagged region is supported.

Graphs: open- vs. closed-arm occupancy heatmap; % time in open arms, % open-arm entries, and latency to first open-arm entry (three separate bars); total arm entries bar (mandatory locomotor control — the single most common EPM criticism in review is an anxiolytic-looking effect that is actually a locomotor confound); an open-arm %-time-course across the trial (§2.3); a "head-dip / peering-out" bar — the mean fraction of time the nose point fell outside the traced arena boundary while the body stayed on it (only shown when a boundary shape was traced) — a geometric proxy, not a validated head-dip or stretch-attend-posture classifier, using the new nose_outside_boundary per-bin key; cluster/group cross-tabs.

Use case: unconditioned anxiety-like behavior assay. All three primary metrics are reported independently rather than folded into one index, since the literature does not treat them as interchangeable (time, entries, and latency can dissociate).

Shortcomings: same role-tagging dependency as Y-Maze; additionally, the current occupancy heatmap approximation (§2.1) is least informative for EPM specifically, since the true arm geometry (narrow, elongated, meeting at a central platform) is exactly the kind of non-convex shape a convex hull represents poorly. The head-dip/peering-out bar is a cheap geometric proxy (nose crossed the traced boundary edge, body didn't) added because nose-point tracking was already available for objects but not applied to region boundaries — it is not a validated stretch-attend-posture or head-dip behavioral classifier, and full posture-based SAP detection remains explicitly out of scope (deferred, along with the Y-Maze novel-arm variant).

Suggestions: trace open and closed arms as separate, non-overlapping region polygons even though they physically share the central platform edge, so entry/exit counting is unambiguous; treat the drawn "(approx.)" outline as directional guidance only, not a substitute for reviewing the raw traced arena in EnvContextWindow.

### 3.4 Discrimination Index (Novel Object Recognition)

Tracing required: ≥1 object tagged "novel" and ≥1 tagged "familiar" (ENV_PARADIGM_MIN_ROLES["novel_object"]).

Graphs: investigation-density heatmap around each object; discrimination index bar, tested both between-group and one-sample-against-chance (0.0 — the field-standard test, since a discrimination index of 0 is the null expectation of no preference); total exploration time across both objects (mandatory validity control — low total exploration makes the index statistically unreliable regardless of its point estimate, and is routinely reported alongside it in the literature); a nose-to-novel-object investigation-distance time-course across the trial (§2.3, lower = closer investigation); an investigation bout-duration distribution (each point is one bout, not one animal); a latency-to-first-contact bar; cluster/group cross-tabs.

Use case: recognition-memory assay. The one-sample-vs-chance test is the primary scientific claim this paradigm makes ("did this group show discrimination at all") — the between-group test is secondary ("did discrimination differ between groups").

Shortcomings: the discrimination index and total exploration time both derive from nose/paw-to-object distance thresholding (interaction_threshold_px, auto-derived from one body length unless set manually) — a single global threshold per session, not object-specific, and not validated against hand-scored investigation bouts.

Suggestions: report total exploration time alongside the index in any write-up, not just the index alone; if interaction_threshold_px is left on auto, verify the auto-derived value (visible in session_env_context.json's summary.interaction_threshold_px) is physically reasonable for the animal and camera setup before trusting the index.

### 3.5 Sociability / Social Novelty (Three-Chamber Test)

Tracing required: for Phase 1 (sociability), objects tagged "stranger" and "empty"; for Phase 2 (social novelty), "stranger" and "novel_stranger" (ENV_PARADIGM_MIN_ROLES["three_chamber"] requires stranger+empty at minimum for the derived metric to compute at all).

Graphs: per-chamber occupancy heatmap, one panel per phase (never pooled — pooling phase 1 and phase 2 together conflates two distinct hypotheses, a design choice made explicitly in the plan); Phase 1 sociability index and Phase 2 social-novelty index as two independently tested bars, each against chance (0.0); chamber entry frequency (mandatory activity control); a nose-to-stranger investigation-distance time-course across the trial (§2.3) in place of a chamber-occupancy time-course — this paradigm's role vocabulary is on the traced objects (stranger/empty/novel_stranger), not the chamber regions, so a role-filtered %-time-in-chamber-over-time isn't available the way EPM's open/closed-arm time-course is; an investigation bout-duration distribution; a latency-to-first-contact-with-stranger bar; cluster/group cross-tabs.

Use case: social-approach and social-novelty-preference assays, the two classically dissociated sub-questions the three-chamber paradigm is designed to separate.

Shortcomings: the two-phase protocol requires per-video role_overrides (the same object cup is "empty" in Phase 1 and may need re-tagging "novel_stranger" in Phase 2) — a manual step in EnvContextWindow Tab 2 that is easy to skip, silently causing Phase 2's derived metric to compute against the wrong role assignment rather than failing loudly.

Suggestions: double-check phase-appropriate role assignment per video explicitly before running the pipeline, per session — this is flagged as a light validation caveat in the plan and is the single most paradigm-specific tracing error to watch for in this tab.

### 3.6 Place Preference / CPP

Tracing required: ≥1 region tagged "paired" and ≥1 tagged "unpaired" (ENV_PARADIGM_MIN_ROLES["place_preference"]); "neutral" is supported.

Graphs: occupancy heatmap (pre- vs. post-test side by side when a genuine pre-test phase exists — the primary figure for this paradigm, not secondary, since the numeric index alone omits whether a preference was uniform across the chamber or concentrated near the paired-side cue); preference index bar, tested both one-sample-against-zero (delta/CPP-score) and between-group; when "Experimental Design" is set to Repeated Measures with a genuine pre-test phase, an additional paired pre/post comparison (run_cluster_statistics(design="repeated")) and a paired pre → post dumbbell plot (§2.3, one line per matched subject — the standard CPP figure for individual-animal change); a cumulative chamber-crossing time-course across the trial (activity control, shown for every design); cluster/group cross-tabs.

Use case: conditioned place preference/aversion — the paired pre/post design is the field-standard, strongest form of this assay (baseline-corrected, within-subject); the between-group post-test-only comparison is the fallback for designs without a genuine pre-test phase.

Shortcomings: a genuine pre-test phase requires the user to structure their loaded sessions/labels so "Group by" resolves to a pre/post axis — sessions without a distinguishable pre-test phase silently degrade to the absolute/delta bar and between-group comparison only, with the paired panel simply omitted (by design, not a bug, but easy to miss if the omission isn't noticed).

Suggestions: use a dedicated label column (e.g. Label 2 = "Pre"/"Post") specifically for the phase axis, distinct from the experimental-group label, so both the paired comparison and the between-group comparison can be run from the same loaded session set without re-loading.

### 3.7 Approach/Avoid Events

Tracing required: any regions/objects (no paradigm restriction — applies to all six paradigms and custom); requires both `env_features_enabled` and `kinematic_directedness_enabled`.

Graphs: trajectory plot — each detected event drawn as a start→end arrow, color-coded approach (green) vs. avoid (red), against the approximate region/object outlines; event rate (events/minute, between-group); target-distribution bar chart split by classification; cluster/group cross-tabs.

Use case: exploratory identification of directed approach/retreat bouts toward a traced region or object, independent of which formal paradigm is in use — the only cross-paradigm sub-view in this tab.

Shortcomings — stronger and more prominent than every other sub-view's caveat, by design: this is a rule-based heuristic (a directed-locomotion bout, defined by straightness ratio and relative speed, immediately followed by an investigation-type bout for "approach"; a net-retreat distance change for "avoid"), not validated against expert human scoring. The detector has no access to a genuine investigation-state classifier and substitutes the following bout's own relative speed as a proxy. Absence of approach_events.csv for a session can mean either "the flags were off" or "it ran and found nothing" — these are not the same case, and the tab distinguishes them in its placeholder text.

Suggestions: treat this sub-view's output as a helpful starting point for manual review, not a confirmed behavioral classification — explicitly, do not use it as the sole evidence for a claim in a publication without independent verification against a human-scored subsample.

## 4. Cross-paradigm limitations

These apply regardless of which sub-view is in use, and are worth stating once rather than repeating per paradigm:

One paradigm per project. env_arena_cfg is a single, project-wide configuration

(schema_version: 3); a batch of recordings that genuinely mixes paradigms (e.g. some Y-Maze, some Open Field, in the same load folder) needs separate CUBE projects/output directories, one per paradigm — there is no per-session paradigm override.

**Occupancy heatmaps and region/object outlines are approximated from behavioral data, not measured from

the traced shape directly** (§2.1) — a structural limitation of the current output schema, not a bug. Users who need the literal traced polygon should refer to EnvContextWindow's own saved template (Save/ Load Template, JSON), not this tab's rendered outline.

Small-n statistics are typical and expected. Rodent behavioral pilot cohorts routinely run 3-8

animals per group; the between-group tests here (Kruskal-Wallis, Dunn's) and one-sample tests (t-test/Wilcoxon) are chosen for their applicability at low n, but statistical power at n<5 per group is genuinely limited regardless of the test — a non-significant result at this sample size should not be over-interpreted as evidence of no effect.

Coordinate-space correctness between traced shapes and pose data is a structural guarantee (identical

crop-aware pixel space, enforced by EnvContextWindow always reading frames through the same crop rectangle DLC tracked on), not a runtime-checked one — see Environmental_Context_v6_Implementation_Report.md's "Coordinate-space correctness" section for the full rationale. A user who manually alters video crop settings between tracing and running the pipeline is outside this guarantee.

No object-movement tracking. All traced objects are assumed static for the duration of a session

(per-video transform/override handles a repositioned-between-sessions object, not one that moves during a session) — deferred (Option B, per Environmental_Context_v6_Implementation_Plan.md's explicitly out-of-scope list).

No multi-animal/social-interaction geometry beyond static object proxies. The Three-Chamber

paradigm's "stranger" role is a static object/cup, not a second tracked animal — CUBE has no dyadic/multi-animal pose tracking (see Competitive_Positioning_and_Publication_Pathway.md for how this compares to MARS's dedicated social-interaction focus).

Nose-point tracking reaches region boundaries only through the new, narrow additions above (EPM's

head-dip proxy, dist_to_region_boundary_nose) — region/arm occupancy itself (which region "counts" as the animal's location, feeding alternation %, time-in-region, entries) remains centroid-based throughout, unchanged by this pass. Only object interaction (discrimination index, sociability index, exploration bout timing) was ever nose-based. Don't read the new EPM head-dip bar as evidence that region membership generally became nose-aware — it didn't.

Three-Chamber has no chamber-occupancy time-course (§3.5) — a direct consequence of its role

vocabulary living on objects, not regions. This is a data-model constraint discovered while building the time-course plots, not an oversight; the nose-to-stranger investigation-distance time-course is the literature-relevant substitute this paradigm's data actually supports.

## 5. Reference tables

### 5.1 Paradigm → required roles → minimum count

| Paradigm | Regions/objects | Required role | Minimum count | Derived metric(s) gated on this |
| --- | --- | --- | --- | --- |
| y_maze | regions | arm | 3 | spontaneous_alternation_pct, n_arm_entries |
| elevated_plus_maze | regions | open_arm + closed_arm | 1 + 1 | pct_time_open_arms, pct_open_arm_entries, latency_to_first_open_arm_entry_sec |
| novel_object | objects | novel + familiar | 1 + 1 | discrimination_index |
| three_chamber | objects | stranger + empty (Phase 1); stranger + novel_stranger (Phase 2) | 1 + 1 each | sociability_index, social_novelty_index |
| place_preference | regions | paired + unpaired | 1 + 1 | preference_index |
| open_field, custom | — | none | — | none (Generic view only) |

Below the minimum count, the derived metric is silently omitted from session_env_context.json's derived dict (not computed as a meaningless/zero value) — the corresponding sub-view bar simply doesn't render for that session rather than showing a misleading number.

### 5.2 File → sub-view dependency

| Output file | Written when | Consumed by |
| --- | --- | --- |
| model/session_env_context.json | env_features_enabled=True, any run | Occupancy heatmaps, all derived-metric bars, region-time controls |
| *_bout_lengths_hmm_enriched.csv | env_features_enabled and/or kinematic_directedness_enabled | Region/group cross-tabs (pct_time_in_region_*), distance-traveled control (path_length_px) |
| *_approach_events.csv | Both flags on, ≥1 event detected | Approach/Avoid Events sub-view only |

## 6. Recommended workflow

Decide the paradigm before recording, or at latest before running Step 3 — role tagging is

configured once, project-wide, and cannot be added retroactively to an already-run session.

Trace the arena on a representative reference frame; tag roles precisely against §5.1's table, not by

approximate name alone (a region literally named "open_arm" but tagged with no role, or the wrong role, silently fails the minimum-role gate).

Enable kinematic_directedness_enabled alongside env_features_enabled whenever Approach/Avoid Events

or Open Field's distance-traveled control matter to the study design — this cannot be added after the pipeline has already run.

After running, load sessions in Combined Analysis as usual, then Refresh in Paradigm Results — the tab

auto-selects the matching sub-view; browse others only to confirm the mismatch-placeholder behaves as expected, not to force a paradigm-specific view onto data it wasn't traced for.

Report the mandatory control-metric bar alongside every primary index in any downstream write-up — this

tab computes and displays it specifically so it isn't left out.

Treat every occupancy-heatmap outline as approximate and every Approach/Avoid Events classification as

heuristic (§4, item 2; §3.7) — neither substitutes for reviewing the traced arena/annotated video directly when precision matters.